## BattTest11-28-ChargingwVAC
#Digilent WaveForms Oscilloscope Acquisition
#Device Name: Discovery2NI
#Serial Number: SN:210321AD0D48
#Date Time: 2022-11-28 16:53:12.959
#Sample rate: 0.455111Hz
#Samples: 1497
#Trigger: Source: Channel 1 Type: Edge Condition: Rising Level: 12.89192 V Hyst.: Auto HoldOff: 100 ns
#Channel 1: Range: 500 mV/div Offset: -12.8865 V Attenuation: 1 X Sample Mode: Average
Time (s) | Channel 1 (V) | Real time (s) | Real time (min)
-8789.0625 | 12.8916 | 0 | 0
-8786.8653 | 12.8991 | 2.1973 | 0.036621
-8784.668 | 12.8991 | 4.3945 | 0.073242
-8782.4707 | 12.8991 | 6.5918 | 0.10986
-8780.2735 | 12.8991 | 8.7891 | 0.14648
-8778.0762 | 12.8991 | 10.9863 | 0.18311
-8775.8789 | 12.8991 | 13.1836 | 0.21973
-8773.6817 | 12.8991 | 15.3809 | 0.25635
-8771.4844 | 12.8991 | 17.5781 | 0.29297
-8769.2871 | 12.8991 | 19.7754 | 0.32959
-8767.0899 | 12.8991 | 21.9727 | 0.36621
-8764.8926 | 12.8954 | 24.1699 | 0.40283
-8762.6953 | 12.8954 | 26.3672 | 0.43945
-8760.4981 | 12.8954 | 28.5645 | 0.47607
-8758.3008 | 12.8916 | 30.7617 | 0.5127
-8756.1035 | 12.8916 | 32.959 | 0.54932
-8753.9063 | 12.8916 | 35.1563 | 0.58594
-8751.709 | 12.8916 | 37.3535 | 0.62256
-8749.5117 | 12.8879 | 39.5508 | 0.65918
-8747.3145 | 12.8879 | 41.748 | 0.6958
-8745.1172 | 12.8842 | 43.9453 | 0.73242
-8742.9199 | 12.8842 | 46.1426 | 0.76904
-8740.7227 | 12.8842 | 48.3398 | 0.80566
-8738.5254 | 12.8805 | 50.5371 | 0.84229
-8736.3281 | 12.8805 | 52.7344 | 0.87891
-8734.1309 | 12.8805 | 54.9316 | 0.91553
-8731.9336 | 12.8805 | 57.1289 | 0.95215
-8729.7363 | 12.8805 | 59.3262 | 0.98877
-8727.5391 | 12.8805 | 61.5234 | 1.0254
-8725.3418 | 12.8805 | 63.7207 | 1.062
-8723.1446 | 12.8805 | 65.918 | 1.0986
-8720.9473 | 12.8805 | 68.1152 | 1.1353
-8718.75 | 12.8805 | 70.3125 | 1.1719
-8716.5528 | 12.8805 | 72.5098 | 1.2085
-8714.3555 | 12.8842 | 74.707 | 1.2451
-8712.1582 | 12.8805 | 76.9043 | 1.2817
-8709.961 | 12.8805 | 79.1016 | 1.3184
-8707.7637 | 12.8805 | 81.2988 | 1.355
-8705.5664 | 12.8805 | 83.4961 | 1.3916
-8703.3692 | 12.8805 | 85.6934 | 1.4282
-8701.1719 | 12.8805 | 87.8906 | 1.4648
-8698.9746 | 12.8768 | 90.0879 | 1.5015
-8696.7774 | 12.8768 | 92.2852 | 1.5381
-8694.5801 | 12.8768 | 94.4824 | 1.5747
-8692.3828 | 12.8768 | 96.6797 | 1.6113
-8690.1856 | 12.8768 | 98.877 | 1.6479
-8687.9883 | 12.8731 | 101.0742 | 1.6846
-8685.791 | 12.8731 | 103.2715 | 1.7212
-8683.5938 | 12.8287 | 105.4688 | 1.7578
-8681.3965 | 12.8065 | 107.666 | 1.7944
-8679.1992 | 12.5323 | 109.8633 | 1.8311
-8677.002 | 12.3434 | 112.0605 | 1.8677
-8674.8047 | 12.2805 | 114.2578 | 1.9043
-8672.6074 | 12.2471 | 116.4551 | 1.9409
-8670.4102 | 12.236 | 118.6523 | 1.9775
-8668.2129 | 12.2323 | 120.8496 | 2.0142
-8666.0156 | 12.2286 | 123.0469 | 2.0508
-8663.8184 | 12.2286 | 125.2441 | 2.0874
-8661.6211 | 12.2249 | 127.4414 | 2.124
-8659.4238 | 12.2249 | 129.6387 | 2.1606
-8657.2266 | 12.2249 | 131.8359 | 2.1973
-8655.0293 | 12.2249 | 134.0332 | 2.2339
-8652.8321 | 12.2249 | 136.2305 | 2.2705
-8650.6348 | 12.2249 | 138.4277 | 2.3071
-8648.4375 | 12.2249 | 140.625 | 2.3438
-8646.2403 | 12.2212 | 142.8223 | 2.3804
-8644.043 | 12.2249 | 145.0195 | 2.417
-8641.8457 | 12.2286 | 147.2168 | 2.4536
-8639.6485 | 12.2286 | 149.4141 | 2.4902
-8637.4512 | 12.2249 | 151.6113 | 2.5269
-8635.2539 | 12.2249 | 153.8086 | 2.5635
-8633.0567 | 12.2249 | 156.0059 | 2.6001
-8630.8594 | 12.2249 | 158.2031 | 2.6367
-8628.6621 | 12.2212 | 160.4004 | 2.6733
-8626.4649 | 12.2212 | 162.5977 | 2.71
-8624.2676 | 12.2212 | 164.7949 | 2.7466
-8622.0703 | 12.2175 | 166.9922 | 2.7832
-8619.8731 | 12.2175 | 169.1895 | 2.8198
-8617.6758 | 12.2175 | 171.3867 | 2.8564
-8615.4785 | 12.2138 | 173.584 | 2.8931
-8613.2813 | 12.2138 | 175.7813 | 2.9297
-8611.084 | 12.2101 | 177.9785 | 2.9663
-8608.8867 | 12.2101 | 180.1758 | 3.0029
-8606.6895 | 12.2064 | 182.373 | 3.0396
-8604.4922 | 12.2064 | 184.5703 | 3.0762
-8602.2949 | 12.2027 | 186.7676 | 3.1128
-8600.0977 | 12.2027 | 188.9648 | 3.1494
-8597.9004 | 12.2027 | 191.1621 | 3.186
-8595.7031 | 12.2027 | 193.3594 | 3.2227
-8593.5059 | 12.199 | 195.5566 | 3.2593
-8591.3086 | 12.199 | 197.7539 | 3.2959
-8589.1113 | 12.199 | 199.9512 | 3.3325
-8586.9141 | 12.1953 | 202.1484 | 3.3691
-8584.7168 | 12.1953 | 204.3457 | 3.4058
-8582.5196 | 12.1916 | 206.543 | 3.4424
-8580.3223 | 12.1879 | 208.7402 | 3.479
-8578.125 | 12.1879 | 210.9375 | 3.5156
-8575.9278 | 12.1841 | 213.1348 | 3.5522
-8573.7305 | 12.1841 | 215.332 | 3.5889
-8571.5332 | 12.1804 | 217.5293 | 3.6255
-8569.336 | 12.1767 | 219.7266 | 3.6621
-8567.1387 | 12.1767 | 221.9238 | 3.6987
-8564.9414 | 12.173 | 224.1211 | 3.7354
-8562.7442 | 12.173 | 226.3184 | 3.772
-8560.5469 | 12.1693 | 228.5156 | 3.8086
-8558.3496 | 12.1656 | 230.7129 | 3.8452
-8556.1524 | 12.1656 | 232.9102 | 3.8818
-8553.9551 | 12.1619 | 235.1074 | 3.9185
-8551.7578 | 12.1619 | 237.3047 | 3.9551
-8549.5606 | 12.1582 | 239.502 | 3.9917
-8547.3633 | 12.1582 | 241.6992 | 4.0283
-8545.166 | 12.1545 | 243.8965 | 4.0649
-8542.9688 | 12.1508 | 246.0938 | 4.1016
-8540.7715 | 12.1508 | 248.291 | 4.1382
-8538.5742 | 12.1471 | 250.4883 | 4.1748
-8536.377 | 12.1434 | 252.6855 | 4.2114
-8534.1797 | 12.1434 | 254.8828 | 4.248
-8531.9824 | 12.1397 | 257.0801 | 4.2847
-8529.7852 | 12.1397 | 259.2773 | 4.3213
-8527.5879 | 12.136 | 261.4746 | 4.3579
-8525.3906 | 12.136 | 263.6719 | 4.3945
-8523.1934 | 12.1323 | 265.8691 | 4.4312
-8520.9961 | 12.1323 | 268.0664 | 4.4678
-8518.7988 | 12.1323 | 270.2637 | 4.5044
-8516.6016 | 12.1323 | 272.4609 | 4.541
-8514.4043 | 12.1286 | 274.6582 | 4.5776
-8512.2071 | 12.1286 | 276.8555 | 4.6143
-8510.0098 | 12.1249 | 279.0527 | 4.6509
-8507.8125 | 12.1249 | 281.25 | 4.6875
-8505.6153 | 12.1249 | 283.4473 | 4.7241
-8503.418 | 12.1249 | 285.6445 | 4.7607
-8501.2207 | 12.1249 | 287.8418 | 4.7974
-8499.0235 | 12.2027 | 290.0391 | 4.834
-8496.8262 | 12.4323 | 292.2363 | 4.8706
-8494.6289 | 12.1841 | 294.4336 | 4.9072
-8492.4317 | 12.1397 | 296.6309 | 4.9438
-8490.2344 | 12.1323 | 298.8281 | 4.9805
-8488.0371 | 12.1286 | 301.0254 | 5.0171
-8485.8399 | 12.1249 | 303.2227 | 5.0537
-8483.6426 | 12.1249 | 305.4199 | 5.0903
-8481.4453 | 12.1249 | 307.6172 | 5.127
-8479.2481 | 12.1249 | 309.8145 | 5.1636
-8477.0508 | 12.1249 | 312.0117 | 5.2002
-8474.8535 | 12.1249 | 314.209 | 5.2368
-8472.6563 | 12.1249 | 316.4063 | 5.2734
-8470.459 | 12.1212 | 318.6035 | 5.3101
-8468.2617 | 12.1249 | 320.8008 | 5.3467
-8466.0645 | 12.1434 | 322.998 | 5.3833
-8463.8672 | 12.1434 | 325.1953 | 5.4199
-8461.6699 | 12.1434 | 327.3926 | 5.4565
-8459.4727 | 12.1286 | 329.5898 | 5.4932
-8457.2754 | 12.1212 | 331.7871 | 5.5298
-8455.0781 | 12.1212 | 333.9844 | 5.5664
-8452.8809 | 12.1249 | 336.1816 | 5.603
-8450.6836 | 12.1249 | 338.3789 | 5.6396
-8448.4863 | 12.1249 | 340.5762 | 5.6763
-8446.2891 | 12.1249 | 342.7734 | 5.7129
-8444.0918 | 12.1249 | 344.9707 | 5.7495
-8441.8946 | 12.1249 | 347.168 | 5.7861
-8439.6973 | 12.1249 | 349.3652 | 5.8228
-8437.5 | 12.1212 | 351.5625 | 5.8594
-8435.3028 | 12.1212 | 353.7598 | 5.896
-8433.1055 | 12.1212 | 355.957 | 5.9326
-8430.9082 | 12.1175 | 358.1543 | 5.9692
-8428.711 | 12.1212 | 360.3516 | 6.0059
-8426.5137 | 12.1212 | 362.5488 | 6.0425
-8424.3164 | 12.1212 | 364.7461 | 6.0791
-8422.1192 | 12.1175 | 366.9434 | 6.1157
-8419.9219 | 12.1175 | 369.1406 | 6.1523
-8417.7246 | 12.1175 | 371.3379 | 6.189
-8415.5274 | 12.1212 | 373.5352 | 6.2256
-8413.3301 | 12.1212 | 375.7324 | 6.2622
-8411.1328 | 12.1175 | 377.9297 | 6.2988
-8408.9356 | 12.1175 | 380.127 | 6.3354
-8406.7383 | 12.1175 | 382.3242 | 6.3721
-8404.541 | 12.1175 | 384.5215 | 6.4087
-8402.3438 | 12.1175 | 386.7188 | 6.4453
-8400.1465 | 12.1175 | 388.916 | 6.4819
-8397.9492 | 12.1175 | 391.1133 | 6.5186
-8395.752 | 12.1175 | 393.3105 | 6.5552
-8393.5547 | 12.1175 | 395.5078 | 6.5918
-8391.3574 | 12.1175 | 397.7051 | 6.6284
-8389.1602 | 12.1138 | 399.9023 | 6.665
-8386.9629 | 12.1175 | 402.0996 | 6.7017
-8384.7656 | 12.1138 | 404.2969 | 6.7383
-8382.5684 | 12.1138 | 406.4941 | 6.7749
-8380.3711 | 12.1175 | 408.6914 | 6.8115
-8378.1738 | 12.1175 | 410.8887 | 6.8481
-8375.9766 | 12.1138 | 413.0859 | 6.8848
-8373.7793 | 12.1138 | 415.2832 | 6.9214
-8371.5821 | 12.1138 | 417.4805 | 6.958
-8369.3848 | 12.1138 | 419.6777 | 6.9946
-8367.1875 | 12.1138 | 421.875 | 7.0313
-8364.9903 | 12.1138 | 424.0723 | 7.0679
-8362.793 | 12.1138 | 426.2695 | 7.1045
-8360.5957 | 12.1138 | 428.4668 | 7.1411
-8358.3985 | 12.1138 | 430.6641 | 7.1777
-8356.2012 | 12.1101 | 432.8613 | 7.2144
-8354.0039 | 12.1101 | 435.0586 | 7.251
-8351.8067 | 12.1101 | 437.2559 | 7.2876
-8349.6094 | 12.1101 | 439.4531 | 7.3242
-8347.4121 | 12.1101 | 441.6504 | 7.3608
-8345.2149 | 12.1101 | 443.8477 | 7.3975
-8343.0176 | 12.1101 | 446.0449 | 7.4341
-8340.8203 | 12.1101 | 448.2422 | 7.4707
-8338.6231 | 12.1101 | 450.4395 | 7.5073
-8336.4258 | 12.1064 | 452.6367 | 7.5439
-8334.2285 | 12.1064 | 454.834 | 7.5806
-8332.0313 | 12.1064 | 457.0313 | 7.6172
-8329.834 | 12.1064 | 459.2285 | 7.6538
-8327.6367 | 12.1064 | 461.4258 | 7.6904
-8325.4395 | 12.1064 | 463.623 | 7.7271
-8323.2422 | 12.1064 | 465.8203 | 7.7637
-8321.0449 | 12.1064 | 468.0176 | 7.8003
-8318.8477 | 12.1064 | 470.2148 | 7.8369
-8316.6504 | 12.1064 | 472.4121 | 7.8735
-8314.4531 | 12.2397 | 474.6094 | 7.9102
-8312.2559 | 12.3805 | 476.8066 | 7.9468
-8310.0586 | 12.1175 | 479.0039 | 7.9834
-8307.8613 | 12.1138 | 481.2012 | 8.02
-8305.6641 | 12.1064 | 483.3984 | 8.0566
-8303.4668 | 12.1064 | 485.5957 | 8.0933
-8301.2696 | 12.1027 | 487.793 | 8.1299
-8299.0723 | 12.1027 | 489.9902 | 8.1665
-8296.875 | 12.1027 | 492.1875 | 8.2031
-8294.6778 | 12.1027 | 494.3848 | 8.2397
-8292.4805 | 12.1027 | 496.582 | 8.2764
-8290.2832 | 12.1027 | 498.7793 | 8.313
-8288.086 | 12.1027 | 500.9766 | 8.3496
-8285.8887 | 12.1027 | 503.1738 | 8.3862
-8283.6914 | 12.1027 | 505.3711 | 8.4229
-8281.4942 | 12.1027 | 507.5684 | 8.4595
-8279.2969 | 12.099 | 509.7656 | 8.4961
-8277.0996 | 12.1027 | 511.9629 | 8.5327
-8274.9024 | 12.1027 | 514.1602 | 8.5693
-8272.7051 | 12.1027 | 516.3574 | 8.606
-8270.5078 | 12.1027 | 518.5547 | 8.6426
-8268.3106 | 12.1064 | 520.752 | 8.6792
-8266.1133 | 12.1027 | 522.9492 | 8.7158
-8263.916 | 12.1027 | 525.1465 | 8.7524
-8261.7188 | 12.1027 | 527.3438 | 8.7891
-8259.5215 | 12.1027 | 529.541 | 8.8257
-8257.3242 | 12.1027 | 531.7383 | 8.8623
-8255.127 | 12.1027 | 533.9355 | 8.8989
-8252.9297 | 12.1027 | 536.1328 | 8.9355
-8250.7324 | 12.1027 | 538.3301 | 8.9722
-8248.5352 | 12.099 | 540.5273 | 9.0088
-8246.3379 | 12.0952 | 542.7246 | 9.0454
-8244.1406 | 12.0952 | 544.9219 | 9.082
-8241.9434 | 12.0952 | 547.1191 | 9.1187
-8239.7461 | 12.0952 | 549.3164 | 9.1553
-8237.5488 | 12.0952 | 551.5137 | 9.1919
-8235.3516 | 12.0915 | 553.7109 | 9.2285
-8233.1543 | 12.0915 | 555.9082 | 9.2651
-8230.957 | 12.0915 | 558.1055 | 9.3018
-8228.7598 | 12.0952 | 560.3027 | 9.3384
-8226.5625 | 12.0952 | 562.5 | 9.375
-8224.3653 | 12.0952 | 564.6973 | 9.4116
-8222.168 | 12.099 | 566.8945 | 9.4482
-8219.9707 | 12.099 | 569.0918 | 9.4849
-8217.7735 | 12.099 | 571.2891 | 9.5215
-8215.5762 | 12.0952 | 573.4863 | 9.5581
-8213.3789 | 12.0915 | 575.6836 | 9.5947
-8211.1817 | 12.0915 | 577.8809 | 9.6313
-8208.9844 | 12.0915 | 580.0781 | 9.668
-8206.7871 | 12.0915 | 582.2754 | 9.7046
-8204.5899 | 12.0915 | 584.4727 | 9.7412
-8202.3926 | 12.0915 | 586.6699 | 9.7778
-8200.1953 | 12.0878 | 588.8672 | 9.8145
-8197.9981 | 12.0804 | 591.0645 | 9.8511
-8195.8008 | 12.0804 | 593.2617 | 9.8877
-8193.6035 | 12.0804 | 595.459 | 9.9243
-8191.4063 | 12.0767 | 597.6563 | 9.9609
-8189.209 | 12.0767 | 599.8535 | 9.9976
-8187.0117 | 12.0767 | 602.0508 | 10.0342
-8184.8145 | 12.0767 | 604.248 | 10.0708
-8182.6172 | 12.0767 | 606.4453 | 10.1074
-8180.4199 | 12.0767 | 608.6426 | 10.144
-8178.2227 | 12.0767 | 610.8398 | 10.1807
-8176.0254 | 12.0767 | 613.0371 | 10.2173
-8173.8281 | 12.073 | 615.2344 | 10.2539
-8171.6309 | 12.073 | 617.4316 | 10.2905
-8169.4336 | 12.073 | 619.6289 | 10.3271
-8167.2363 | 12.073 | 621.8262 | 10.3638
-8165.0391 | 12.073 | 624.0234 | 10.4004
-8162.8418 | 12.073 | 626.2207 | 10.437
-8160.6445 | 12.073 | 628.418 | 10.4736
-8158.4473 | 12.0693 | 630.6152 | 10.5103
-8156.25 | 12.0693 | 632.8125 | 10.5469
-8154.0528 | 12.0693 | 635.0098 | 10.5835
-8151.8555 | 12.0693 | 637.207 | 10.6201
-8149.6582 | 12.0693 | 639.4043 | 10.6567
-8147.461 | 12.0693 | 641.6016 | 10.6934
-8145.2637 | 12.0693 | 643.7988 | 10.73
-8143.0664 | 12.0693 | 645.9961 | 10.7666
-8140.8692 | 12.0693 | 648.1934 | 10.8032
-8138.6719 | 12.0693 | 650.3906 | 10.8398
-8136.4746 | 12.0656 | 652.5879 | 10.8765
-8134.2774 | 12.0656 | 654.7852 | 10.9131
-8132.0801 | 12.0212 | 656.9824 | 10.9497
-8129.8828 | 12.3286 | 659.1797 | 10.9863
-8127.6856 | 12.2842 | 661.377 | 11.0229
-8125.4883 | 12.0804 | 663.5742 | 11.0596
-8123.291 | 12.0693 | 665.7715 | 11.0962
-8121.0938 | 12.0656 | 667.9688 | 11.1328
-8118.8965 | 12.0656 | 670.166 | 11.1694
-8116.6992 | 12.0619 | 672.3633 | 11.2061
-8114.502 | 12.0619 | 674.5605 | 11.2427
-8112.3047 | 12.0619 | 676.7578 | 11.2793
-8110.1074 | 12.0619 | 678.9551 | 11.3159
-8107.9102 | 12.0619 | 681.1523 | 11.3525
-8105.7129 | 12.0619 | 683.3496 | 11.3892
-8103.5156 | 12.0619 | 685.5469 | 11.4258
-8101.3184 | 12.0619 | 687.7441 | 11.4624
-8099.1211 | 12.0619 | 689.9414 | 11.499
-8096.9238 | 12.0619 | 692.1387 | 11.5356
-8094.7266 | 12.0582 | 694.3359 | 11.5723
-8092.5293 | 12.0619 | 696.5332 | 11.6089
-8090.332 | 12.0619 | 698.7305 | 11.6455
-8088.1348 | 12.0619 | 700.9277 | 11.6821
-8085.9375 | 12.0619 | 703.125 | 11.7188
-8083.7403 | 12.0582 | 705.3223 | 11.7554
-8081.543 | 12.0582 | 707.5195 | 11.792
-8079.3457 | 12.0582 | 709.7168 | 11.8286
-8077.1485 | 12.0545 | 711.9141 | 11.8652
-8074.9512 | 12.0545 | 714.1113 | 11.9019
-8072.7539 | 12.0545 | 716.3086 | 11.9385
-8070.5567 | 12.0545 | 718.5059 | 11.9751
-8068.3594 | 12.0545 | 720.7031 | 12.0117
-8066.1621 | 12.0545 | 722.9004 | 12.0483
-8063.9649 | 12.0545 | 725.0977 | 12.085
-8061.7676 | 12.0545 | 727.2949 | 12.1216
-8059.5703 | 12.0508 | 729.4922 | 12.1582
-8057.3731 | 12.0545 | 731.6895 | 12.1948
-8055.1758 | 12.0545 | 733.8867 | 12.2314
-8052.9785 | 12.0508 | 736.084 | 12.2681
-8050.7813 | 12.0508 | 738.2813 | 12.3047
-8048.584 | 12.0508 | 740.4785 | 12.3413
-8046.3867 | 12.0508 | 742.6758 | 12.3779
-8044.1895 | 12.0508 | 744.873 | 12.4146
-8041.9922 | 12.0508 | 747.0703 | 12.4512
-8039.7949 | 12.0508 | 749.2676 | 12.4878
-8037.5977 | 12.0508 | 751.4648 | 12.5244
-8035.4004 | 12.0508 | 753.6621 | 12.561
-8033.2031 | 12.0471 | 755.8594 | 12.5977
-8031.0059 | 12.0471 | 758.0566 | 12.6343
-8028.8086 | 12.0471 | 760.2539 | 12.6709
-8026.6113 | 12.0471 | 762.4512 | 12.7075
-8024.4141 | 12.0471 | 764.6484 | 12.7441
-8022.2168 | 12.0471 | 766.8457 | 12.7808
-8020.0195 | 12.0471 | 769.043 | 12.8174
-8017.8223 | 12.0471 | 771.2402 | 12.854
-8015.625 | 12.0471 | 773.4375 | 12.8906
-8013.4278 | 12.0434 | 775.6348 | 12.9272
-8011.2305 | 12.0434 | 777.832 | 12.9639
-8009.0332 | 12.0471 | 780.0293 | 13.0005
-8006.836 | 12.0471 | 782.2266 | 13.0371
-8004.6387 | 12.0471 | 784.4238 | 13.0737
-8002.4414 | 12.0471 | 786.6211 | 13.1104
-8000.2442 | 12.0471 | 788.8184 | 13.147
-7998.0469 | 12.0471 | 791.0156 | 13.1836
-7995.8496 | 12.0434 | 793.2129 | 13.2202
-7993.6524 | 12.0471 | 795.4102 | 13.2568
-7991.4551 | 12.0434 | 797.6074 | 13.2935
-7989.2578 | 12.0397 | 799.8047 | 13.3301
-7987.0606 | 12.0397 | 802.002 | 13.3667
-7984.8633 | 12.036 | 804.1992 | 13.4033
-7982.666 | 12.036 | 806.3965 | 13.4399
-7980.4688 | 12.036 | 808.5938 | 13.4766
-7978.2715 | 12.036 | 810.791 | 13.5132
-7976.0742 | 12.036 | 812.9883 | 13.5498
-7973.877 | 12.036 | 815.1855 | 13.5864
-7971.6797 | 12.036 | 817.3828 | 13.623
-7969.4824 | 12.0397 | 819.5801 | 13.6597
-7967.2852 | 12.0397 | 821.7773 | 13.6963
-7965.0879 | 12.036 | 823.9746 | 13.7329
-7962.8906 | 12.036 | 826.1719 | 13.7695
-7960.6934 | 12.036 | 828.3691 | 13.8062
-7958.4961 | 12.036 | 830.5664 | 13.8428
-7956.2988 | 12.036 | 832.7637 | 13.8794
-7954.1016 | 12.036 | 834.9609 | 13.916
-7951.9043 | 12.036 | 837.1582 | 13.9526
-7949.707 | 12.0323 | 839.3555 | 13.9893
-7947.5098 | 12.0323 | 841.5527 | 14.0259
-7945.3125 | 12.3138 | 843.75 | 14.0625
-7943.1153 | 12.1879 | 845.9473 | 14.0991
-7940.918 | 12.0471 | 848.1445 | 14.1357
-7938.7207 | 12.036 | 850.3418 | 14.1724
-7936.5235 | 12.0323 | 852.5391 | 14.209
-7934.3262 | 12.0323 | 854.7363 | 14.2456
-7932.1289 | 12.0286 | 856.9336 | 14.2822
-7929.9317 | 12.0286 | 859.1309 | 14.3188
-7927.7344 | 12.0286 | 861.3281 | 14.3555
-7925.5371 | 12.0286 | 863.5254 | 14.3921
-7923.3399 | 12.0286 | 865.7227 | 14.4287
-7921.1426 | 12.0286 | 867.9199 | 14.4653
-7918.9453 | 12.0249 | 870.1172 | 14.502
-7916.7481 | 12.0249 | 872.3145 | 14.5386
-7914.5508 | 12.0249 | 874.5117 | 14.5752
-7912.3535 | 12.0249 | 876.709 | 14.6118
-7910.1563 | 12.0249 | 878.9063 | 14.6484
-7907.959 | 12.0249 | 881.1035 | 14.6851
-7905.7617 | 12.0212 | 883.3008 | 14.7217
-7903.5645 | 12.0212 | 885.498 | 14.7583
-7901.3672 | 12.0212 | 887.6953 | 14.7949
-7899.1699 | 12.0212 | 889.8926 | 14.8315
-7896.9727 | 12.0212 | 892.0898 | 14.8682
-7894.7754 | 12.0212 | 894.2871 | 14.9048
-7892.5781 | 12.0212 | 896.4844 | 14.9414
-7890.3809 | 12.0175 | 898.6816 | 14.978
-7888.1836 | 12.0175 | 900.8789 | 15.0146
-7885.9863 | 12.0175 | 903.0762 | 15.0513
-7883.7891 | 12.0175 | 905.2734 | 15.0879
-7881.5918 | 12.0175 | 907.4707 | 15.1245
-7879.3945 | 12.0175 | 909.668 | 15.1611
-7877.1973 | 12.0138 | 911.8652 | 15.1978
-7875 | 12.0138 | 914.0625 | 15.2344
-7872.8028 | 12.0138 | 916.2598 | 15.271
-7870.6055 | 12.0138 | 918.457 | 15.3076
-7868.4082 | 12.0138 | 920.6543 | 15.3442
-7866.211 | 12.0138 | 922.8516 | 15.3809
-7864.0137 | 12.0138 | 925.0488 | 15.4175
-7861.8164 | 12.0138 | 927.2461 | 15.4541
-7859.6192 | 12.0138 | 929.4434 | 15.4907
-7857.4219 | 12.0101 | 931.6406 | 15.5273
-7855.2246 | 12.0101 | 933.8379 | 15.564
-7853.0274 | 12.0101 | 936.0352 | 15.6006
-7850.8301 | 12.0101 | 938.2324 | 15.6372
-7848.6328 | 12.0101 | 940.4297 | 15.6738
-7846.4356 | 12.0101 | 942.627 | 15.7104
-7844.2383 | 12.0101 | 944.8242 | 15.7471
-7842.041 | 12.0101 | 947.0215 | 15.7837
-7839.8438 | 12.0101 | 949.2188 | 15.8203
-7837.6465 | 12.0101 | 951.416 | 15.8569
-7835.4492 | 12.0101 | 953.6133 | 15.8936
-7833.252 | 12.0063 | 955.8105 | 15.9302
-7831.0547 | 12.0063 | 958.0078 | 15.9668
-7828.8574 | 12.0063 | 960.2051 | 16.0034
-7826.6602 | 12.0063 | 962.4023 | 16.04
-7824.4629 | 12.0063 | 964.5996 | 16.0767
-7822.2656 | 12.0063 | 966.7969 | 16.1133
-7820.0684 | 12.0063 | 968.9941 | 16.1499
-7817.8711 | 12.0026 | 971.1914 | 16.1865
-7815.6738 | 12.0026 | 973.3887 | 16.2231
-7813.4766 | 12.0026 | 975.5859 | 16.2598
-7811.2793 | 12.0026 | 977.7832 | 16.2964
-7809.082 | 12.0026 | 979.9805 | 16.333
-7806.8848 | 12.0026 | 982.1777 | 16.3696
-7804.6875 | 12.0026 | 984.375 | 16.4063
-7802.4903 | 12.0026 | 986.5723 | 16.4429
-7800.293 | 12.0026 | 988.7695 | 16.4795
-7798.0957 | 11.9989 | 990.9668 | 16.5161
-7795.8985 | 11.9989 | 993.1641 | 16.5527
-7793.7012 | 11.9989 | 995.3613 | 16.5894
-7791.5039 | 11.9989 | 997.5586 | 16.626
-7789.3067 | 11.9989 | 999.7559 | 16.6626
-7787.1094 | 11.9989 | 1001.9531 | 16.6992
-7784.9121 | 11.9989 | 1004.1504 | 16.7358
-7782.7149 | 11.9989 | 1006.3477 | 16.7725
-7780.5176 | 11.9952 | 1008.5449 | 16.8091
-7778.3203 | 11.9952 | 1010.7422 | 16.8457
-7776.1231 | 11.9952 | 1012.9395 | 16.8823
-7773.9258 | 11.9952 | 1015.1367 | 16.9189
-7771.7285 | 11.9952 | 1017.334 | 16.9556
-7769.5313 | 11.9952 | 1019.5313 | 16.9922
-7767.334 | 11.9952 | 1021.7285 | 17.0288
-7765.1367 | 11.9915 | 1023.9258 | 17.0654
-7762.9395 | 12.0619 | 1026.123 | 17.1021
-7760.7422 | 12.2916 | 1028.3203 | 17.1387
-7758.5449 | 12.0693 | 1030.5176 | 17.1753
-7756.3477 | 12.0026 | 1032.7148 | 17.2119
-7754.1504 | 11.9952 | 1034.9121 | 17.2485
-7751.9531 | 11.9915 | 1037.1094 | 17.2852
-7749.7559 | 11.9915 | 1039.3066 | 17.3218
-7747.5586 | 11.9915 | 1041.5039 | 17.3584
-7745.3613 | 11.9915 | 1043.7012 | 17.395
-7743.1641 | 11.9915 | 1045.8984 | 17.4316
-7740.9668 | 11.9915 | 1048.0957 | 17.4683
-7738.7695 | 11.9878 | 1050.293 | 17.5049
-7736.5723 | 11.9878 | 1052.4902 | 17.5415
-7734.375 | 11.9878 | 1054.6875 | 17.5781
-7732.1778 | 11.9841 | 1056.8848 | 17.6147
-7729.9805 | 11.9841 | 1059.082 | 17.6514
-7727.7832 | 11.9841 | 1061.2793 | 17.688
-7725.586 | 11.9841 | 1063.4766 | 17.7246
-7723.3887 | 11.9841 | 1065.6738 | 17.7612
-7721.1914 | 11.9841 | 1067.8711 | 17.7979
-7718.9942 | 11.9804 | 1070.0684 | 17.8345
-7716.7969 | 11.9804 | 1072.2656 | 17.8711
-7714.5996 | 11.9804 | 1074.4629 | 17.9077
-7712.4024 | 11.9804 | 1076.6602 | 17.9443
-7710.2051 | 11.9804 | 1078.8574 | 17.981
-7708.0078 | 11.9804 | 1081.0547 | 18.0176
-7705.8106 | 11.9804 | 1083.252 | 18.0542
-7703.6133 | 11.9804 | 1085.4492 | 18.0908
-7701.416 | 11.9804 | 1087.6465 | 18.1274
-7699.2188 | 11.9767 | 1089.8438 | 18.1641
-7697.0215 | 11.9804 | 1092.041 | 18.2007
-7694.8242 | 11.9767 | 1094.2383 | 18.2373
-7692.627 | 11.9767 | 1096.4355 | 18.2739
-7690.4297 | 11.9767 | 1098.6328 | 18.3105
-7688.2324 | 11.9767 | 1100.8301 | 18.3472
-7686.0352 | 11.9767 | 1103.0273 | 18.3838
-7683.8379 | 11.9767 | 1105.2246 | 18.4204
-7681.6406 | 11.9767 | 1107.4219 | 18.457
-7679.4434 | 11.9767 | 1109.6191 | 18.4937
-7677.2461 | 11.9767 | 1111.8164 | 18.5303
-7675.0488 | 11.9767 | 1114.0137 | 18.5669
-7672.8516 | 11.973 | 1116.2109 | 18.6035
-7670.6543 | 11.973 | 1118.4082 | 18.6401
-7668.457 | 11.973 | 1120.6055 | 18.6768
-7666.2598 | 11.973 | 1122.8027 | 18.7134
-7664.0625 | 11.973 | 1125 | 18.75
-7661.8653 | 11.973 | 1127.1973 | 18.7866
-7659.668 | 11.973 | 1129.3945 | 18.8232
-7657.4707 | 11.9693 | 1131.5918 | 18.8599
-7655.2735 | 11.9693 | 1133.7891 | 18.8965
-7653.0762 | 11.9693 | 1135.9863 | 18.9331
-7650.8789 | 11.9693 | 1138.1836 | 18.9697
-7648.6817 | 11.9693 | 1140.3809 | 19.0063
-7646.4844 | 11.9693 | 1142.5781 | 19.043
-7644.2871 | 11.9656 | 1144.7754 | 19.0796
-7642.0899 | 11.9656 | 1146.9727 | 19.1162
-7639.8926 | 11.9656 | 1149.1699 | 19.1528
-7637.6953 | 11.9656 | 1151.3672 | 19.1895
-7635.4981 | 11.9656 | 1153.5645 | 19.2261
-7633.3008 | 11.9656 | 1155.7617 | 19.2627
-7631.1035 | 11.9619 | 1157.959 | 19.2993
-7628.9063 | 11.9619 | 1160.1563 | 19.3359
-7626.709 | 11.9619 | 1162.3535 | 19.3726
-7624.5117 | 11.9619 | 1164.5508 | 19.4092
-7622.3145 | 11.9619 | 1166.748 | 19.4458
-7620.1172 | 11.9619 | 1168.9453 | 19.4824
-7617.9199 | 11.9619 | 1171.1426 | 19.519
-7615.7227 | 11.9619 | 1173.3398 | 19.5557
-7613.5254 | 11.9619 | 1175.5371 | 19.5923
-7611.3281 | 11.9619 | 1177.7344 | 19.6289
-7609.1309 | 11.9582 | 1179.9316 | 19.6655
-7606.9336 | 11.9582 | 1182.1289 | 19.7021
-7604.7363 | 11.9582 | 1184.3262 | 19.7388
-7602.5391 | 11.9582 | 1186.5234 | 19.7754
-7600.3418 | 11.9582 | 1188.7207 | 19.812
-7598.1445 | 11.9582 | 1190.918 | 19.8486
-7595.9473 | 11.9582 | 1193.1152 | 19.8853
-7593.75 | 11.9582 | 1195.3125 | 19.9219
-7591.5528 | 11.9545 | 1197.5098 | 19.9585
-7589.3555 | 11.9545 | 1199.707 | 19.9951
-7587.1582 | 11.9545 | 1201.9043 | 20.0317
-7584.961 | 11.9545 | 1204.1016 | 20.0684
-7582.7637 | 11.9545 | 1206.2988 | 20.105
-7580.5664 | 11.9545 | 1208.4961 | 20.1416
-7578.3692 | 12.099 | 1210.6934 | 20.1782
-7576.1719 | 12.2508 | 1212.8906 | 20.2148
-7573.9746 | 11.9693 | 1215.0879 | 20.2515
-7571.7774 | 11.9619 | 1217.2852 | 20.2881
-7569.5801 | 11.9545 | 1219.4824 | 20.3247
-7567.3828 | 11.9545 | 1221.6797 | 20.3613
-7565.1856 | 11.9508 | 1223.877 | 20.3979
-7562.9883 | 11.9508 | 1226.0742 | 20.4346
-7560.791 | 11.9508 | 1228.2715 | 20.4712
-7558.5938 | 11.9508 | 1230.4688 | 20.5078
-7556.3965 | 11.9508 | 1232.666 | 20.5444
-7554.1992 | 11.9508 | 1234.8633 | 20.5811
-7552.002 | 11.9508 | 1237.0605 | 20.6177
-7549.8047 | 11.9508 | 1239.2578 | 20.6543
-7547.6074 | 11.9471 | 1241.4551 | 20.6909
-7545.4102 | 11.9471 | 1243.6523 | 20.7275
-7543.2129 | 11.9471 | 1245.8496 | 20.7642
-7541.0156 | 11.9471 | 1248.0469 | 20.8008
-7538.8184 | 11.9471 | 1250.2441 | 20.8374
-7536.6211 | 11.9471 | 1252.4414 | 20.874
-7534.4238 | 11.9471 | 1254.6387 | 20.9106
-7532.2266 | 11.9471 | 1256.8359 | 20.9473
-7530.0293 | 11.9434 | 1259.0332 | 20.9839
-7527.832 | 11.9434 | 1261.2305 | 21.0205
-7525.6348 | 11.9434 | 1263.4277 | 21.0571
-7523.4375 | 11.9434 | 1265.625 | 21.0938
-7521.2403 | 11.9434 | 1267.8223 | 21.1304
-7519.043 | 11.9434 | 1270.0195 | 21.167
-7516.8457 | 11.9434 | 1272.2168 | 21.2036
-7514.6485 | 11.9434 | 1274.4141 | 21.2402
-7512.4512 | 11.9434 | 1276.6113 | 21.2769
-7510.2539 | 11.9434 | 1278.8086 | 21.3135
-7508.0567 | 11.9434 | 1281.0059 | 21.3501
-7505.8594 | 11.9434 | 1283.2031 | 21.3867
-7503.6621 | 11.9397 | 1285.4004 | 21.4233
-7501.4649 | 11.9397 | 1287.5977 | 21.46
-7499.2676 | 11.9397 | 1289.7949 | 21.4966
-7497.0703 | 11.9397 | 1291.9922 | 21.5332
-7494.8731 | 11.9397 | 1294.1895 | 21.5698
-7492.6758 | 11.9397 | 1296.3867 | 21.6064
-7490.4785 | 11.9397 | 1298.584 | 21.6431
-7488.2813 | 11.9397 | 1300.7813 | 21.6797
-7486.084 | 11.9397 | 1302.9785 | 21.7163
-7483.8867 | 11.936 | 1305.1758 | 21.7529
-7481.6895 | 11.936 | 1307.373 | 21.7896
-7479.4922 | 11.936 | 1309.5703 | 21.8262
-7477.2949 | 11.936 | 1311.7676 | 21.8628
-7475.0977 | 11.936 | 1313.9648 | 21.8994
-7472.9004 | 11.936 | 1316.1621 | 21.936
-7470.7031 | 11.936 | 1318.3594 | 21.9727
-7468.5059 | 11.936 | 1320.5566 | 22.0093
-7466.3086 | 11.936 | 1322.7539 | 22.0459
-7464.1113 | 11.936 | 1324.9512 | 22.0825
-7461.9141 | 11.936 | 1327.1484 | 22.1191
-7459.7168 | 11.936 | 1329.3457 | 22.1558
-7457.5195 | 11.936 | 1331.543 | 22.1924
-7455.3223 | 11.936 | 1333.7402 | 22.229
-7453.125 | 11.936 | 1335.9375 | 22.2656
-7450.9278 | 11.9323 | 1338.1348 | 22.3022
-7448.7305 | 11.9323 | 1340.332 | 22.3389
-7446.5332 | 11.9323 | 1342.5293 | 22.3755
-7444.336 | 11.9323 | 1344.7266 | 22.4121
-7442.1387 | 11.9323 | 1346.9238 | 22.4487
-7439.9414 | 11.9323 | 1349.1211 | 22.4854
-7437.7442 | 11.9323 | 1351.3184 | 22.522
-7435.5469 | 11.9323 | 1353.5156 | 22.5586
-7433.3496 | 11.9323 | 1355.7129 | 22.5952
-7431.1524 | 11.9286 | 1357.9102 | 22.6318
-7428.9551 | 11.9286 | 1360.1074 | 22.6685
-7426.7578 | 11.9286 | 1362.3047 | 22.7051
-7424.5606 | 11.9286 | 1364.502 | 22.7417
-7422.3633 | 11.9286 | 1366.6992 | 22.7783
-7420.166 | 11.9286 | 1368.8965 | 22.8149
-7417.9688 | 11.9286 | 1371.0938 | 22.8516
-7415.7715 | 11.9286 | 1373.291 | 22.8882
-7413.5742 | 11.9286 | 1375.4883 | 22.9248
-7411.377 | 11.9286 | 1377.6856 | 22.9614
-7409.1797 | 11.9286 | 1379.8828 | 22.998
-7406.9824 | 11.9286 | 1382.0801 | 23.0347
-7404.7852 | 11.9286 | 1384.2773 | 23.0713
-7402.5879 | 11.9249 | 1386.4746 | 23.1079
-7400.3906 | 11.9249 | 1388.6719 | 23.1445
-7398.1934 | 11.9249 | 1390.8691 | 23.1812
-7395.9961 | 11.8767 | 1393.0664 | 23.2178
-7393.7988 | 12.1916 | 1395.2637 | 23.2544
-7391.6016 | 12.1545 | 1397.4609 | 23.291
-7389.4043 | 11.936 | 1399.6582 | 23.3276
-7387.207 | 11.9286 | 1401.8555 | 23.3643
-7385.0098 | 11.9249 | 1404.0527 | 23.4009
-7382.8125 | 11.9212 | 1406.25 | 23.4375
-7380.6153 | 11.9212 | 1408.4473 | 23.4741
-7378.418 | 11.9212 | 1410.6445 | 23.5107
-7376.2207 | 11.9212 | 1412.8418 | 23.5474
-7374.0235 | 11.9174 | 1415.0391 | 23.584
-7371.8262 | 11.9174 | 1417.2363 | 23.6206
-7369.6289 | 11.9174 | 1419.4336 | 23.6572
-7367.4317 | 11.9174 | 1421.6309 | 23.6938
-7365.2344 | 11.9174 | 1423.8281 | 23.7305
-7363.0371 | 11.9174 | 1426.0254 | 23.7671
-7360.8399 | 11.9174 | 1428.2227 | 23.8037
-7358.6426 | 11.9137 | 1430.4199 | 23.8403
-7356.4453 | 11.9137 | 1432.6172 | 23.877
-7354.2481 | 11.9137 | 1434.8145 | 23.9136
-7352.0508 | 11.9137 | 1437.0117 | 23.9502
-7349.8535 | 11.9137 | 1439.209 | 23.9868
-7347.6563 | 11.9137 | 1441.4063 | 24.0234
-7345.459 | 11.9137 | 1443.6035 | 24.0601
-7343.2617 | 11.91 | 1445.8008 | 24.0967
-7341.0645 | 11.91 | 1447.9981 | 24.1333
-7338.8672 | 11.91 | 1450.1953 | 24.1699
-7336.6699 | 11.91 | 1452.3926 | 24.2065
-7334.4727 | 11.91 | 1454.5898 | 24.2432
-7332.2754 | 11.91 | 1456.7871 | 24.2798
-7330.0781 | 11.9063 | 1458.9844 | 24.3164
-7327.8809 | 11.9063 | 1461.1816 | 24.353
-7325.6836 | 11.9063 | 1463.3789 | 24.3896
-7323.4863 | 11.9063 | 1465.5762 | 24.4263
-7321.2891 | 11.9063 | 1467.7734 | 24.4629
-7319.0918 | 11.9063 | 1469.9707 | 24.4995
-7316.8945 | 11.9063 | 1472.168 | 24.5361
-7314.6973 | 11.9063 | 1474.3652 | 24.5728
-7312.5 | 11.9063 | 1476.5625 | 24.6094
-7310.3028 | 11.9063 | 1478.7598 | 24.646
-7308.1055 | 11.9026 | 1480.957 | 24.6826
-7305.9082 | 11.9063 | 1483.1543 | 24.7192
-7303.711 | 11.9026 | 1485.3516 | 24.7559
-7301.5137 | 11.9026 | 1487.5488 | 24.7925
-7299.3164 | 11.9026 | 1489.7461 | 24.8291
-7297.1192 | 11.9026 | 1491.9434 | 24.8657
-7294.9219 | 11.9026 | 1494.1406 | 24.9023
-7292.7246 | 11.9026 | 1496.3379 | 24.939
-7290.5274 | 11.8989 | 1498.5352 | 24.9756
-7288.3301 | 11.8989 | 1500.7324 | 25.0122
-7286.1328 | 11.8989 | 1502.9297 | 25.0488
-7283.9356 | 11.9026 | 1505.127 | 25.0854
-7281.7383 | 11.9063 | 1507.3242 | 25.1221
-7279.541 | 11.9137 | 1509.5215 | 25.1587
-7277.3438 | 11.9026 | 1511.7188 | 25.1953
-7275.1465 | 11.8989 | 1513.916 | 25.2319
-7272.9492 | 11.8952 | 1516.1133 | 25.2686
-7270.752 | 11.8952 | 1518.3106 | 25.3052
-7268.5547 | 11.8952 | 1520.5078 | 25.3418
-7266.3574 | 11.8952 | 1522.7051 | 25.3784
-7264.1602 | 11.8952 | 1524.9023 | 25.415
-7261.9629 | 11.8952 | 1527.0996 | 25.4517
-7259.7656 | 11.8915 | 1529.2969 | 25.4883
-7257.5684 | 11.8915 | 1531.4941 | 25.5249
-7255.3711 | 11.8915 | 1533.6914 | 25.5615
-7253.1738 | 11.8915 | 1535.8887 | 25.5981
-7250.9766 | 11.8915 | 1538.0859 | 25.6348
-7248.7793 | 11.8915 | 1540.2832 | 25.6714
-7246.582 | 11.8915 | 1542.4805 | 25.708
-7244.3848 | 11.8915 | 1544.6777 | 25.7446
-7242.1875 | 11.8878 | 1546.875 | 25.7813
-7239.9903 | 11.8878 | 1549.0723 | 25.8179
-7237.793 | 11.8878 | 1551.2695 | 25.8545
-7235.5957 | 11.8878 | 1553.4668 | 25.8911
-7233.3985 | 11.8878 | 1555.6641 | 25.9277
-7231.2012 | 11.8878 | 1557.8613 | 25.9644
-7229.0039 | 11.8878 | 1560.0586 | 26.001
-7226.8067 | 11.8878 | 1562.2559 | 26.0376
-7224.6094 | 11.8841 | 1564.4531 | 26.0742
-7222.4121 | 11.8841 | 1566.6504 | 26.1108
-7220.2149 | 11.8841 | 1568.8477 | 26.1475
-7218.0176 | 11.8841 | 1571.0449 | 26.1841
-7215.8203 | 11.8841 | 1573.2422 | 26.2207
-7213.6231 | 11.8841 | 1575.4395 | 26.2573
-7211.4258 | 11.8952 | 1577.6367 | 26.2939
-7209.2285 | 12.1767 | 1579.834 | 26.3306
-7207.0313 | 12.0323 | 1582.0313 | 26.3672
-7204.834 | 11.8915 | 1584.2285 | 26.4038
-7202.6367 | 11.8841 | 1586.4258 | 26.4404
-7200.4395 | 11.8804 | 1588.6231 | 26.4771
-7198.2422 | 11.8804 | 1590.8203 | 26.5137
-7196.0449 | 11.8804 | 1593.0176 | 26.5503
-7193.8477 | 11.8804 | 1595.2148 | 26.5869
-7191.6504 | 11.8804 | 1597.4121 | 26.6235
-7189.4531 | 11.8804 | 1599.6094 | 26.6602
-7187.2559 | 11.8767 | 1601.8066 | 26.6968
-7185.0586 | 11.8767 | 1604.0039 | 26.7334
-7182.8613 | 11.8767 | 1606.2012 | 26.77
-7180.6641 | 11.8767 | 1608.3984 | 26.8066
-7178.4668 | 11.8767 | 1610.5957 | 26.8433
-7176.2695 | 11.8767 | 1612.793 | 26.8799
-7174.0723 | 11.873 | 1614.9902 | 26.9165
-7171.875 | 11.873 | 1617.1875 | 26.9531
-7169.6778 | 11.873 | 1619.3848 | 26.9897
-7167.4805 | 11.873 | 1621.582 | 27.0264
-7165.2832 | 11.873 | 1623.7793 | 27.063
-7163.086 | 11.873 | 1625.9766 | 27.0996
-7160.8887 | 11.873 | 1628.1738 | 27.1362
-7158.6914 | 11.873 | 1630.3711 | 27.1729
-7156.4942 | 11.8693 | 1632.5684 | 27.2095
-7154.2969 | 11.8693 | 1634.7656 | 27.2461
-7152.0996 | 11.8693 | 1636.9629 | 27.2827
-7149.9024 | 11.8693 | 1639.1602 | 27.3193
-7147.7051 | 11.8693 | 1641.3574 | 27.356
-7145.5078 | 11.8693 | 1643.5547 | 27.3926
-7143.3106 | 11.8693 | 1645.752 | 27.4292
-7141.1133 | 11.8693 | 1647.9492 | 27.4658
-7138.916 | 11.8693 | 1650.1465 | 27.5024
-7136.7188 | 11.8656 | 1652.3438 | 27.5391
-7134.5215 | 11.8656 | 1654.541 | 27.5757
-7132.3242 | 11.8656 | 1656.7383 | 27.6123
-7130.127 | 11.8656 | 1658.9356 | 27.6489
-7127.9297 | 11.8656 | 1661.1328 | 27.6855
-7125.7324 | 11.8656 | 1663.3301 | 27.7222
-7123.5352 | 11.8656 | 1665.5273 | 27.7588
-7121.3379 | 11.8619 | 1667.7246 | 27.7954
-7119.1406 | 11.8619 | 1669.9219 | 27.832
-7116.9434 | 11.8619 | 1672.1191 | 27.8687
-7114.7461 | 11.8619 | 1674.3164 | 27.9053
-7112.5488 | 11.8619 | 1676.5137 | 27.9419
-7110.3516 | 11.8619 | 1678.7109 | 27.9785
-7108.1543 | 11.8619 | 1680.9082 | 28.0151
-7105.957 | 11.8619 | 1683.1055 | 28.0518
-7103.7598 | 11.8619 | 1685.3027 | 28.0884
-7101.5625 | 11.8582 | 1687.5 | 28.125
-7099.3653 | 11.8582 | 1689.6973 | 28.1616
-7097.168 | 11.8582 | 1691.8945 | 28.1982
-7094.9707 | 11.8582 | 1694.0918 | 28.2349
-7092.7735 | 11.8582 | 1696.2891 | 28.2715
-7090.5762 | 11.8582 | 1698.4863 | 28.3081
-7088.3789 | 11.8545 | 1700.6836 | 28.3447
-7086.1817 | 11.8582 | 1702.8809 | 28.3813
-7083.9844 | 11.8545 | 1705.0781 | 28.418
-7081.7871 | 11.8545 | 1707.2754 | 28.4546
-7079.5899 | 11.8545 | 1709.4727 | 28.4912
-7077.3926 | 11.8545 | 1711.6699 | 28.5278
-7075.1953 | 11.8545 | 1713.8672 | 28.5645
-7072.9981 | 11.8545 | 1716.0645 | 28.6011
-7070.8008 | 11.8508 | 1718.2617 | 28.6377
-7068.6035 | 11.8508 | 1720.459 | 28.6743
-7066.4063 | 11.8508 | 1722.6563 | 28.7109
-7064.209 | 11.8508 | 1724.8535 | 28.7476
-7062.0117 | 11.8508 | 1727.0508 | 28.7842
-7059.8145 | 11.8471 | 1729.2481 | 28.8208
-7057.6172 | 11.8471 | 1731.4453 | 28.8574
-7055.4199 | 11.8471 | 1733.6426 | 28.894
-7053.2227 | 11.8471 | 1735.8398 | 28.9307
-7051.0254 | 11.8471 | 1738.0371 | 28.9673
-7048.8281 | 11.8471 | 1740.2344 | 29.0039
-7046.6309 | 11.8471 | 1742.4316 | 29.0405
-7044.4336 | 11.8471 | 1744.6289 | 29.0771
-7042.2363 | 11.8434 | 1746.8262 | 29.1138
-7040.0391 | 11.8471 | 1749.0234 | 29.1504
-7037.8418 | 11.8434 | 1751.2207 | 29.187
-7035.6445 | 11.8434 | 1753.418 | 29.2236
-7033.4473 | 11.8434 | 1755.6152 | 29.2603
-7031.25 | 11.8434 | 1757.8125 | 29.2969
-7029.0528 | 11.8397 | 1760.0098 | 29.3335
-7026.8555 | 11.9286 | 1762.207 | 29.3701
-7024.6582 | 12.1545 | 1764.4043 | 29.4067
-7022.461 | 11.8989 | 1766.6016 | 29.4434
-7020.2637 | 11.8471 | 1768.7988 | 29.48
-7018.0664 | 11.8434 | 1770.9961 | 29.5166
-7015.8692 | 11.8397 | 1773.1934 | 29.5532
-7013.6719 | 11.8397 | 1775.3906 | 29.5898
-7011.4746 | 11.8397 | 1777.5879 | 29.6265
-7009.2774 | 11.8397 | 1779.7852 | 29.6631
-7007.0801 | 11.836 | 1781.9824 | 29.6997
-7004.8828 | 11.836 | 1784.1797 | 29.7363
-7002.6856 | 11.836 | 1786.377 | 29.7729
-7000.4883 | 11.8323 | 1788.5742 | 29.8096
-6998.291 | 11.8471 | 1790.7715 | 29.8462
-6996.0938 | 11.8471 | 1792.9688 | 29.8828
-6993.8965 | 11.8508 | 1795.166 | 29.9194
-6991.6992 | 11.8508 | 1797.3633 | 29.9561
-6989.502 | 11.8508 | 1799.5606 | 29.9927
-6987.3047 | 11.8508 | 1801.7578 | 30.0293
-6985.1074 | 11.8471 | 1803.9551 | 30.0659
-6982.9102 | 11.8471 | 1806.1523 | 30.1025
-6980.7129 | 11.8471 | 1808.3496 | 30.1392
-6978.5156 | 11.8471 | 1810.5469 | 30.1758
-6976.3184 | 11.8471 | 1812.7441 | 30.2124
-6974.1211 | 11.8471 | 1814.9414 | 30.249
-6971.9238 | 11.8471 | 1817.1387 | 30.2856
-6969.7266 | 11.8434 | 1819.3359 | 30.3223
-6967.5293 | 11.8471 | 1821.5332 | 30.3589
-6965.332 | 11.8434 | 1823.7305 | 30.3955
-6963.1348 | 11.8434 | 1825.9277 | 30.4321
-6960.9375 | 11.8434 | 1828.125 | 30.4688
-6958.7403 | 11.8434 | 1830.3223 | 30.5054
-6956.543 | 11.8434 | 1832.5195 | 30.542
-6954.3457 | 11.8434 | 1834.7168 | 30.5786
-6952.1485 | 11.8434 | 1836.9141 | 30.6152
-6949.9512 | 11.8397 | 1839.1113 | 30.6519
-6947.7539 | 11.8397 | 1841.3086 | 30.6885
-6945.5567 | 11.8397 | 1843.5059 | 30.7251
-6943.3594 | 11.8434 | 1845.7031 | 30.7617
-6941.1621 | 11.8397 | 1847.9004 | 30.7983
-6938.9649 | 11.836 | 1850.0977 | 30.835
-6936.7676 | 11.836 | 1852.2949 | 30.8716
-6934.5703 | 11.836 | 1854.4922 | 30.9082
-6932.3731 | 11.836 | 1856.6895 | 30.9448
-6930.1758 | 11.836 | 1858.8867 | 30.9814
-6927.9785 | 11.8323 | 1861.084 | 31.0181
-6925.7813 | 11.8323 | 1863.2813 | 31.0547
-6923.584 | 11.8323 | 1865.4785 | 31.0913
-6921.3867 | 11.8323 | 1867.6758 | 31.1279
-6919.1895 | 11.8323 | 1869.8731 | 31.1646
-6916.9922 | 11.8323 | 1872.0703 | 31.2012
-6914.7949 | 11.8397 | 1874.2676 | 31.2378
-6912.5977 | 11.8434 | 1876.4648 | 31.2744
-6910.4004 | 11.8397 | 1878.6621 | 31.311
-6908.2031 | 11.8397 | 1880.8594 | 31.3477
-6906.0059 | 11.8397 | 1883.0566 | 31.3843
-6903.8086 | 11.8397 | 1885.2539 | 31.4209
-6901.6113 | 11.8397 | 1887.4512 | 31.4575
-6899.4141 | 11.8397 | 1889.6484 | 31.4941
-6897.2168 | 11.836 | 1891.8457 | 31.5308
-6895.0195 | 11.836 | 1894.043 | 31.5674
-6892.8223 | 11.836 | 1896.2402 | 31.604
-6890.625 | 11.836 | 1898.4375 | 31.6406
-6888.4278 | 11.836 | 1900.6348 | 31.6772
-6886.2305 | 11.836 | 1902.832 | 31.7139
-6884.0332 | 11.836 | 1905.0293 | 31.7505
-6881.836 | 11.8323 | 1907.2266 | 31.7871
-6879.6387 | 11.8323 | 1909.4238 | 31.8237
-6877.4414 | 11.8323 | 1911.6211 | 31.8604
-6875.2442 | 11.8323 | 1913.8184 | 31.897
-6873.0469 | 11.8323 | 1916.0156 | 31.9336
-6870.8496 | 11.8323 | 1918.2129 | 31.9702
-6868.6524 | 11.8285 | 1920.4102 | 32.0068
-6866.4551 | 11.8285 | 1922.6074 | 32.0435
-6864.2578 | 11.8285 | 1924.8047 | 32.0801
-6862.0606 | 11.8285 | 1927.002 | 32.1167
-6859.8633 | 11.8285 | 1929.1992 | 32.1533
-6857.666 | 11.8248 | 1931.3965 | 32.1899
-6855.4688 | 11.8285 | 1933.5938 | 32.2266
-6853.2715 | 11.8248 | 1935.791 | 32.2632
-6851.0742 | 11.8211 | 1937.9883 | 32.2998
-6848.877 | 11.8248 | 1940.1856 | 32.3364
-6846.6797 | 11.8211 | 1942.3828 | 32.373
-6844.4824 | 11.8211 | 1944.5801 | 32.4097
-6842.2852 | 11.973 | 1946.7773 | 32.4463
-6840.0879 | 12.1027 | 1948.9746 | 32.4829
-6837.8906 | 11.8211 | 1951.1719 | 32.5195
-6835.6934 | 11.8248 | 1953.3691 | 32.5562
-6833.4961 | 11.8211 | 1955.5664 | 32.5928
-6831.2988 | 11.8174 | 1957.7637 | 32.6294
-6829.1016 | 11.8174 | 1959.9609 | 32.666
-6826.9043 | 11.8137 | 1962.1582 | 32.7026
-6824.707 | 11.8026 | 1964.3555 | 32.7393
-6822.5098 | 11.8026 | 1966.5527 | 32.7759
-6820.3125 | 11.8026 | 1968.75 | 32.8125
-6818.1152 | 11.7989 | 1970.9473 | 32.8491
-6815.918 | 11.7989 | 1973.1445 | 32.8857
-6813.7207 | 11.7989 | 1975.3418 | 32.9224
-6811.5235 | 11.7989 | 1977.5391 | 32.959
-6809.3262 | 11.7989 | 1979.7363 | 32.9956
-6807.1289 | 11.7952 | 1981.9336 | 33.0322
-6804.9317 | 11.7952 | 1984.1309 | 33.0688
-6802.7344 | 11.7952 | 1986.3281 | 33.1055
-6800.5371 | 11.7952 | 1988.5254 | 33.1421
-6798.3399 | 11.7952 | 1990.7227 | 33.1787
-6796.1426 | 11.7915 | 1992.9199 | 33.2153
-6793.9453 | 11.7878 | 1995.1172 | 33.252
-6791.7481 | 11.7878 | 1997.3145 | 33.2886
-6789.5508 | 11.7841 | 1999.5117 | 33.3252
-6787.3535 | 11.7841 | 2001.709 | 33.3618
-6785.1563 | 11.7841 | 2003.9063 | 33.3984
-6782.959 | 11.7841 | 2006.1035 | 33.4351
-6780.7617 | 11.7878 | 2008.3008 | 33.4717
-6778.5645 | 11.7878 | 2010.4981 | 33.5083
-6776.3672 | 11.7841 | 2012.6953 | 33.5449
-6774.1699 | 11.7841 | 2014.8926 | 33.5815
-6771.9727 | 11.7841 | 2017.0898 | 33.6182
-6769.7754 | 11.7767 | 2019.2871 | 33.6548
-6767.5781 | 11.7767 | 2021.4844 | 33.6914
-6765.3809 | 11.7767 | 2023.6816 | 33.728
-6763.1836 | 11.7767 | 2025.8789 | 33.7646
-6760.9863 | 11.7767 | 2028.0762 | 33.8013
-6758.7891 | 11.773 | 2030.2734 | 33.8379
-6756.5918 | 11.773 | 2032.4707 | 33.8745
-6754.3945 | 11.773 | 2034.668 | 33.9111
-6752.1973 | 11.773 | 2036.8652 | 33.9478
-6750 | 11.773 | 2039.0625 | 33.9844
-6747.8027 | 11.773 | 2041.2598 | 34.021
-6745.6055 | 11.773 | 2043.457 | 34.0576
-6743.4082 | 11.7693 | 2045.6543 | 34.0942
-6741.211 | 11.7693 | 2047.8516 | 34.1309
-6739.0137 | 11.7693 | 2050.0488 | 34.1675
-6736.8164 | 11.7693 | 2052.2461 | 34.2041
-6734.6192 | 11.7693 | 2054.4434 | 34.2407
-6732.4219 | 11.7693 | 2056.6406 | 34.2773
-6730.2246 | 11.7656 | 2058.8379 | 34.314
-6728.0274 | 11.7656 | 2061.0352 | 34.3506
-6725.8301 | 11.7656 | 2063.2324 | 34.3872
-6723.6328 | 11.7656 | 2065.4297 | 34.4238
-6721.4356 | 11.7656 | 2067.627 | 34.4604
-6719.2383 | 11.7656 | 2069.8242 | 34.4971
-6717.041 | 11.7656 | 2072.0215 | 34.5337
-6714.8438 | 11.7656 | 2074.2188 | 34.5703
-6712.6465 | 11.7619 | 2076.416 | 34.6069
-6710.4492 | 11.7619 | 2078.6133 | 34.6436
-6708.252 | 11.7619 | 2080.8106 | 34.6802
-6706.0547 | 11.7619 | 2083.0078 | 34.7168
-6703.8574 | 11.7619 | 2085.2051 | 34.7534
-6701.6602 | 11.7619 | 2087.4023 | 34.79
-6699.4629 | 11.7619 | 2089.5996 | 34.8267
-6697.2656 | 11.7619 | 2091.7969 | 34.8633
-6695.0684 | 11.7619 | 2093.9941 | 34.8999
-6692.8711 | 11.7619 | 2096.1914 | 34.9365
-6690.6738 | 11.7619 | 2098.3887 | 34.9731
-6688.4766 | 11.7619 | 2100.5859 | 35.0098
-6686.2793 | 11.7619 | 2102.7832 | 35.0464
-6684.082 | 11.7582 | 2104.9805 | 35.083
-6681.8848 | 11.7582 | 2107.1777 | 35.1196
-6679.6875 | 11.7582 | 2109.375 | 35.1563
-6677.4902 | 11.7619 | 2111.5723 | 35.1929
-6675.293 | 11.7619 | 2113.7695 | 35.2295
-6673.0957 | 11.7619 | 2115.9668 | 35.2661
-6670.8985 | 11.7619 | 2118.1641 | 35.3027
-6668.7012 | 11.7545 | 2120.3613 | 35.3394
-6666.5039 | 11.7545 | 2122.5586 | 35.376
-6664.3067 | 11.7545 | 2124.7559 | 35.4126
-6662.1094 | 11.7545 | 2126.9531 | 35.4492
-6659.9121 | 11.7174 | 2129.1504 | 35.4858
-6657.7149 | 12.0508 | 2131.3477 | 35.5225
-6655.5176 | 11.973 | 2133.5449 | 35.5591
-6653.3203 | 11.7656 | 2135.7422 | 35.5957
-6651.1231 | 11.7582 | 2137.9395 | 35.6323
-6648.9258 | 11.7545 | 2140.1367 | 35.6689
-6646.7285 | 11.7508 | 2142.334 | 35.7056
-6644.5313 | 11.7508 | 2144.5313 | 35.7422
-6642.334 | 11.7508 | 2146.7285 | 35.7788
-6640.1367 | 11.7471 | 2148.9258 | 35.8154
-6637.9395 | 11.7471 | 2151.1231 | 35.8521
-6635.7422 | 11.7471 | 2153.3203 | 35.8887
-6633.5449 | 11.7471 | 2155.5176 | 35.9253
-6631.3477 | 11.7471 | 2157.7148 | 35.9619
-6629.1504 | 11.7471 | 2159.9121 | 35.9985
-6626.9531 | 11.7434 | 2162.1094 | 36.0352
-6624.7559 | 11.7434 | 2164.3066 | 36.0718
-6622.5586 | 11.7434 | 2166.5039 | 36.1084
-6620.3613 | 11.7396 | 2168.7012 | 36.145
-6618.1641 | 11.7396 | 2170.8984 | 36.1816
-6615.9668 | 11.7396 | 2173.0957 | 36.2183
-6613.7695 | 11.7396 | 2175.293 | 36.2549
-6611.5723 | 11.7396 | 2177.4902 | 36.2915
-6609.375 | 11.7396 | 2179.6875 | 36.3281
-6607.1777 | 11.7396 | 2181.8848 | 36.3647
-6604.9805 | 11.7396 | 2184.082 | 36.4014
-6602.7832 | 11.7396 | 2186.2793 | 36.438
-6600.586 | 11.7359 | 2188.4766 | 36.4746
-6598.3887 | 11.7359 | 2190.6738 | 36.5112
-6596.1914 | 11.7359 | 2192.8711 | 36.5479
-6593.9942 | 11.7359 | 2195.0684 | 36.5845
-6591.7969 | 11.7322 | 2197.2656 | 36.6211
-6589.5996 | 11.7322 | 2199.4629 | 36.6577
-6587.4024 | 11.7322 | 2201.6602 | 36.6943
-6585.2051 | 11.7322 | 2203.8574 | 36.731
-6583.0078 | 11.7322 | 2206.0547 | 36.7676
-6580.8106 | 11.7322 | 2208.252 | 36.8042
-6578.6133 | 11.7322 | 2210.4492 | 36.8408
-6576.416 | 11.7322 | 2212.6465 | 36.8774
-6574.2188 | 11.7285 | 2214.8438 | 36.9141
-6572.0215 | 11.7322 | 2217.041 | 36.9507
-6569.8242 | 11.7322 | 2219.2383 | 36.9873
-6567.627 | 11.7322 | 2221.4356 | 37.0239
-6565.4297 | 11.7322 | 2223.6328 | 37.0605
-6563.2324 | 11.7285 | 2225.8301 | 37.0972
-6561.0352 | 11.7285 | 2228.0273 | 37.1338
-6558.8379 | 11.7322 | 2230.2246 | 37.1704
-6556.6406 | 11.7322 | 2232.4219 | 37.207
-6554.4434 | 11.7396 | 2234.6191 | 37.2437
-6552.2461 | 11.7359 | 2236.8164 | 37.2803
-6550.0488 | 11.7359 | 2239.0137 | 37.3169
-6547.8516 | 11.7359 | 2241.2109 | 37.3535
-6545.6543 | 11.7359 | 2243.4082 | 37.3901
-6543.457 | 11.7359 | 2245.6055 | 37.4268
-6541.2598 | 11.7359 | 2247.8027 | 37.4634
-6539.0625 | 11.7359 | 2250 | 37.5
-6536.8652 | 11.7359 | 2252.1973 | 37.5366
-6534.668 | 11.7359 | 2254.3945 | 37.5732
-6532.4707 | 11.7359 | 2256.5918 | 37.6099
-6530.2735 | 11.7359 | 2258.7891 | 37.6465
-6528.0762 | 11.7359 | 2260.9863 | 37.6831
-6525.8789 | 11.7359 | 2263.1836 | 37.7197
-6523.6817 | 11.7359 | 2265.3809 | 37.7563
-6521.4844 | 11.7359 | 2267.5781 | 37.793
-6519.2871 | 11.7359 | 2269.7754 | 37.8296
-6517.0899 | 11.7359 | 2271.9727 | 37.8662
-6514.8926 | 11.7359 | 2274.1699 | 37.9028
-6512.6953 | 11.7359 | 2276.3672 | 37.9395
-6510.4981 | 11.7359 | 2278.5645 | 37.9761
-6508.3008 | 11.7359 | 2280.7617 | 38.0127
-6506.1035 | 11.7359 | 2282.959 | 38.0493
-6503.9063 | 11.7359 | 2285.1563 | 38.0859
-6501.709 | 11.7359 | 2287.3535 | 38.1226
-6499.5117 | 11.7359 | 2289.5508 | 38.1592
-6497.3145 | 11.7359 | 2291.7481 | 38.1958
-6495.1172 | 11.7359 | 2293.9453 | 38.2324
-6492.9199 | 11.7359 | 2296.1426 | 38.269
-6490.7227 | 11.7285 | 2298.3398 | 38.3057
-6488.5254 | 11.7285 | 2300.5371 | 38.3423
-6486.3281 | 11.7248 | 2302.7344 | 38.3789
-6484.1309 | 11.7248 | 2304.9316 | 38.4155
-6481.9336 | 11.7248 | 2307.1289 | 38.4521
-6479.7363 | 11.7248 | 2309.3262 | 38.4888
-6477.5391 | 11.7248 | 2311.5234 | 38.5254
-6475.3418 | 11.7582 | 2313.7207 | 38.562
-6473.1445 | 12.0286 | 2315.918 | 38.5986
-6470.9473 | 11.8545 | 2318.1152 | 38.6353
-6468.75 | 11.7359 | 2320.3125 | 38.6719
-6466.5527 | 11.7285 | 2322.5098 | 38.7085
-6464.3555 | 11.7248 | 2324.707 | 38.7451
-6462.1582 | 11.7248 | 2326.9043 | 38.7817
-6459.961 | 11.7248 | 2329.1016 | 38.8184
-6457.7637 | 11.7211 | 2331.2988 | 38.855
-6455.5664 | 11.7211 | 2333.4961 | 38.8916
-6453.3692 | 11.7211 | 2335.6934 | 38.9282
-6451.1719 | 11.7211 | 2337.8906 | 38.9648
-6448.9746 | 11.7211 | 2340.0879 | 39.0015
-6446.7774 | 11.7211 | 2342.2852 | 39.0381
-6444.5801 | 11.7174 | 2344.4824 | 39.0747
-6442.3828 | 11.7174 | 2346.6797 | 39.1113
-6440.1856 | 11.7174 | 2348.877 | 39.1479
-6437.9883 | 11.7174 | 2351.0742 | 39.1846
-6435.791 | 11.7174 | 2353.2715 | 39.2212
-6433.5938 | 11.7174 | 2355.4688 | 39.2578
-6431.3965 | 11.7174 | 2357.666 | 39.2944
-6429.1992 | 11.7137 | 2359.8633 | 39.3311
-6427.002 | 11.7137 | 2362.0606 | 39.3677
-6424.8047 | 11.7137 | 2364.2578 | 39.4043
-6422.6074 | 11.7137 | 2366.4551 | 39.4409
-6420.4102 | 11.7137 | 2368.6523 | 39.4775
-6418.2129 | 11.7137 | 2370.8496 | 39.5142
-6416.0156 | 11.7137 | 2373.0469 | 39.5508
-6413.8184 | 11.7137 | 2375.2441 | 39.5874
-6411.6211 | 11.71 | 2377.4414 | 39.624
-6409.4238 | 11.71 | 2379.6387 | 39.6606
-6407.2266 | 11.71 | 2381.8359 | 39.6973
-6405.0293 | 11.7063 | 2384.0332 | 39.7339
-6402.832 | 11.7063 | 2386.2305 | 39.7705
-6400.6348 | 11.7063 | 2388.4277 | 39.8071
-6398.4375 | 11.7063 | 2390.625 | 39.8438
-6396.2402 | 11.7063 | 2392.8223 | 39.8804
-6394.043 | 11.7063 | 2395.0195 | 39.917
-6391.8457 | 11.7063 | 2397.2168 | 39.9536
-6389.6485 | 11.7063 | 2399.4141 | 39.9902
-6387.4512 | 11.7063 | 2401.6113 | 40.0269
-6385.2539 | 11.7026 | 2403.8086 | 40.0635
-6383.0567 | 11.7026 | 2406.0059 | 40.1001
-6380.8594 | 11.7026 | 2408.2031 | 40.1367
-6378.6621 | 11.7026 | 2410.4004 | 40.1733
-6376.4649 | 11.7026 | 2412.5977 | 40.21
-6374.2676 | 11.7026 | 2414.7949 | 40.2466
-6372.0703 | 11.6989 | 2416.9922 | 40.2832
-6369.8731 | 11.6989 | 2419.1895 | 40.3198
-6367.6758 | 11.6989 | 2421.3867 | 40.3564
-6365.4785 | 11.6989 | 2423.584 | 40.3931
-6363.2813 | 11.6989 | 2425.7813 | 40.4297
-6361.084 | 11.6989 | 2427.9785 | 40.4663
-6358.8867 | 11.6952 | 2430.1758 | 40.5029
-6356.6895 | 11.6952 | 2432.3731 | 40.5396
-6354.4922 | 11.6952 | 2434.5703 | 40.5762
-6352.2949 | 11.6952 | 2436.7676 | 40.6128
-6350.0977 | 11.6952 | 2438.9648 | 40.6494
-6347.9004 | 11.6915 | 2441.1621 | 40.686
-6345.7031 | 11.6915 | 2443.3594 | 40.7227
-6343.5059 | 11.6915 | 2445.5566 | 40.7593
-6341.3086 | 11.6915 | 2447.7539 | 40.7959
-6339.1113 | 11.6915 | 2449.9512 | 40.8325
-6336.9141 | 11.6915 | 2452.1484 | 40.8691
-6334.7168 | 11.6878 | 2454.3457 | 40.9058
-6332.5195 | 11.6878 | 2456.543 | 40.9424
-6330.3223 | 11.6878 | 2458.7402 | 40.979
-6328.125 | 11.6878 | 2460.9375 | 41.0156
-6325.9277 | 11.6878 | 2463.1348 | 41.0522
-6323.7305 | 11.6878 | 2465.332 | 41.0889
-6321.5332 | 11.6878 | 2467.5293 | 41.1255
-6319.336 | 11.6841 | 2469.7266 | 41.1621
-6317.1387 | 11.6841 | 2471.9238 | 41.1987
-6314.9414 | 11.6841 | 2474.1211 | 41.2354
-6312.7442 | 11.6841 | 2476.3184 | 41.272
-6310.5469 | 11.6841 | 2478.5156 | 41.3086
-6308.3496 | 11.6804 | 2480.7129 | 41.3452
-6306.1524 | 11.6804 | 2482.9102 | 41.3818
-6303.9551 | 11.6804 | 2485.1074 | 41.4185
-6301.7578 | 11.6804 | 2487.3047 | 41.4551
-6299.5606 | 11.6804 | 2489.502 | 41.4917
-6297.3633 | 11.6804 | 2491.6992 | 41.5283
-6295.166 | 11.6767 | 2493.8965 | 41.5649
-6292.9688 | 11.6767 | 2496.0938 | 41.6016
-6290.7715 | 11.7878 | 2498.291 | 41.6382
-6288.5742 | 11.9915 | 2500.4883 | 41.6748
-6286.377 | 11.7137 | 2502.6856 | 41.7114
-6284.1797 | 11.6841 | 2504.8828 | 41.748
-6281.9824 | 11.6804 | 2507.0801 | 41.7847
-6279.7852 | 11.6767 | 2509.2773 | 41.8213
-6277.5879 | 11.6767 | 2511.4746 | 41.8579
-6275.3906 | 11.673 | 2513.6719 | 41.8945
-6273.1934 | 11.673 | 2515.8691 | 41.9312
-6270.9961 | 11.673 | 2518.0664 | 41.9678
-6268.7988 | 11.673 | 2520.2637 | 42.0044
-6266.6016 | 11.673 | 2522.4609 | 42.041
-6264.4043 | 11.6693 | 2524.6582 | 42.0776
-6262.207 | 11.6693 | 2526.8555 | 42.1143
-6260.0098 | 11.6693 | 2529.0527 | 42.1509
-6257.8125 | 11.6693 | 2531.25 | 42.1875
-6255.6152 | 11.6693 | 2533.4473 | 42.2241
-6253.418 | 11.6693 | 2535.6445 | 42.2607
-6251.2207 | 11.6693 | 2537.8418 | 42.2974
-6249.0235 | 11.6693 | 2540.0391 | 42.334
-6246.8262 | 11.6656 | 2542.2363 | 42.3706
-6244.6289 | 11.6656 | 2544.4336 | 42.4072
-6242.4317 | 11.6656 | 2546.6309 | 42.4438
-6240.2344 | 11.6656 | 2548.8281 | 42.4805
-6238.0371 | 11.6619 | 2551.0254 | 42.5171
-6235.8399 | 11.6619 | 2553.2227 | 42.5537
-6233.6426 | 11.6619 | 2555.4199 | 42.5903
-6231.4453 | 11.6619 | 2557.6172 | 42.627
-6229.2481 | 11.6619 | 2559.8145 | 42.6636
-6227.0508 | 11.6619 | 2562.0117 | 42.7002
-6224.8535 | 11.6619 | 2564.209 | 42.7368
-6222.6563 | 11.6619 | 2566.4063 | 42.7734
-6220.459 | 11.6582 | 2568.6035 | 42.8101
-6218.2617 | 11.6582 | 2570.8008 | 42.8467
-6216.0645 | 11.6582 | 2572.9981 | 42.8833
-6213.8672 | 11.6582 | 2575.1953 | 42.9199
-6211.6699 | 11.6582 | 2577.3926 | 42.9565
-6209.4727 | 11.6545 | 2579.5898 | 42.9932
-6207.2754 | 11.6545 | 2581.7871 | 43.0298
-6205.0781 | 11.6545 | 2583.9844 | 43.0664
-6202.8809 | 11.6545 | 2586.1816 | 43.103
-6200.6836 | 11.6545 | 2588.3789 | 43.1396
-6198.4863 | 11.6545 | 2590.5762 | 43.1763
-6196.2891 | 11.6545 | 2592.7734 | 43.2129
-6194.0918 | 11.6507 | 2594.9707 | 43.2495
-6191.8945 | 11.6545 | 2597.168 | 43.2861
-6189.6973 | 11.6507 | 2599.3652 | 43.3228
-6187.5 | 11.6507 | 2601.5625 | 43.3594
-6185.3027 | 11.6507 | 2603.7598 | 43.396
-6183.1055 | 11.6507 | 2605.957 | 43.4326
-6180.9082 | 11.6507 | 2608.1543 | 43.4692
-6178.711 | 11.647 | 2610.3516 | 43.5059
-6176.5137 | 11.647 | 2612.5488 | 43.5425
-6174.3164 | 11.647 | 2614.7461 | 43.5791
-6172.1192 | 11.647 | 2616.9434 | 43.6157
-6169.9219 | 11.647 | 2619.1406 | 43.6523
-6167.7246 | 11.647 | 2621.3379 | 43.689
-6165.5274 | 11.6433 | 2623.5352 | 43.7256
-6163.3301 | 11.6433 | 2625.7324 | 43.7622
-6161.1328 | 11.6433 | 2627.9297 | 43.7988
-6158.9356 | 11.6433 | 2630.127 | 43.8354
-6156.7383 | 11.6433 | 2632.3242 | 43.8721
-6154.541 | 11.6433 | 2634.5215 | 43.9087
-6152.3438 | 11.6433 | 2636.7188 | 43.9453
-6150.1465 | 11.6433 | 2638.916 | 43.9819
-6147.9492 | 11.6396 | 2641.1133 | 44.0186
-6145.752 | 11.6396 | 2643.3106 | 44.0552
-6143.5547 | 11.6396 | 2645.5078 | 44.0918
-6141.3574 | 11.6396 | 2647.7051 | 44.1284
-6139.1602 | 11.6396 | 2649.9023 | 44.165
-6136.9629 | 11.6396 | 2652.0996 | 44.2017
-6134.7656 | 11.6396 | 2654.2969 | 44.2383
-6132.5684 | 11.6396 | 2656.4941 | 44.2749
-6130.3711 | 11.6359 | 2658.6914 | 44.3115
-6128.1738 | 11.6359 | 2660.8887 | 44.3481
-6125.9766 | 11.6359 | 2663.0859 | 44.3848
-6123.7793 | 11.6359 | 2665.2832 | 44.4214
-6121.582 | 11.6359 | 2667.4805 | 44.458
-6119.3848 | 11.6322 | 2669.6777 | 44.4946
-6117.1875 | 11.6322 | 2671.875 | 44.5313
-6114.9902 | 11.6322 | 2674.0723 | 44.5679
-6112.793 | 11.6322 | 2676.2695 | 44.6045
-6110.5957 | 11.6322 | 2678.4668 | 44.6411
-6108.3985 | 11.6322 | 2680.6641 | 44.6777
-6106.2012 | 11.8248 | 2682.8613 | 44.7144
-6104.0039 | 11.9026 | 2685.0586 | 44.751
-6101.8067 | 11.6359 | 2687.2559 | 44.7876
-6099.6094 | 11.6359 | 2689.4531 | 44.8242
-6097.4121 | 11.6322 | 2691.6504 | 44.8608
-6095.2149 | 11.6285 | 2693.8477 | 44.8975
-6093.0176 | 11.6285 | 2696.0449 | 44.9341
-6090.8203 | 11.6285 | 2698.2422 | 44.9707
-6088.6231 | 11.6285 | 2700.4395 | 45.0073
-6086.4258 | 11.6248 | 2702.6367 | 45.0439
-6084.2285 | 11.6248 | 2704.834 | 45.0806
-6082.0313 | 11.6248 | 2707.0313 | 45.1172
-6079.834 | 11.6248 | 2709.2285 | 45.1538
-6077.6367 | 11.6248 | 2711.4258 | 45.1904
-6075.4395 | 11.6248 | 2713.6231 | 45.2271
-6073.2422 | 11.6211 | 2715.8203 | 45.2637
-6071.0449 | 11.6211 | 2718.0176 | 45.3003
-6068.8477 | 11.6211 | 2720.2148 | 45.3369
-6066.6504 | 11.6211 | 2722.4121 | 45.3735
-6064.4531 | 11.6211 | 2724.6094 | 45.4102
-6062.2559 | 11.6211 | 2726.8066 | 45.4468
-6060.0586 | 11.7952 | 2729.0039 | 45.4834
-6057.8613 | 11.9397 | 2731.2012 | 45.52
-6055.6641 | 11.9619 | 2733.3984 | 45.5566
-6053.4668 | 11.973 | 2735.5957 | 45.5933
-6051.2695 | 11.9804 | 2737.793 | 45.6299
-6049.0723 | 11.9878 | 2739.9902 | 45.6665
-6046.875 | 11.9915 | 2742.1875 | 45.7031
-6044.6777 | 11.9952 | 2744.3848 | 45.7397
-6042.4805 | 11.9989 | 2746.582 | 45.7764
-6040.2832 | 11.9989 | 2748.7793 | 45.813
-6038.086 | 12.0026 | 2750.9766 | 45.8496
-6035.8887 | 12.0026 | 2753.1738 | 45.8862
-6033.6914 | 12.0063 | 2755.3711 | 45.9229
-6031.4942 | 12.0063 | 2757.5684 | 45.9595
-6029.2969 | 12.0101 | 2759.7656 | 45.9961
-6027.0996 | 12.0101 | 2761.9629 | 46.0327
-6024.9024 | 12.0101 | 2764.1602 | 46.0693
-6022.7051 | 12.0138 | 2766.3574 | 46.106
-6020.5078 | 12.0138 | 2768.5547 | 46.1426
-6018.3106 | 12.0138 | 2770.752 | 46.1792
-6016.1133 | 12.0138 | 2772.9492 | 46.2158
-6013.916 | 12.0175 | 2775.1465 | 46.2524
-6011.7188 | 12.0175 | 2777.3438 | 46.2891
-6009.5215 | 12.0175 | 2779.541 | 46.3257
-6007.3242 | 12.0175 | 2781.7383 | 46.3623
-6005.127 | 12.0212 | 2783.9356 | 46.3989
-6002.9297 | 12.0212 | 2786.1328 | 46.4355
-6000.7324 | 12.0212 | 2788.3301 | 46.4722
-5998.5352 | 12.0212 | 2790.5274 | 46.5088
-5996.3379 | 12.0212 | 2792.7246 | 46.5454
-5994.1406 | 12.0212 | 2794.9219 | 46.582
-5991.9434 | 12.0249 | 2797.1191 | 46.6187
-5989.7461 | 12.0249 | 2799.3164 | 46.6553
-5987.5488 | 12.0249 | 2801.5137 | 46.6919
-5985.3516 | 12.0249 | 2803.7109 | 46.7285
-5983.1543 | 12.0249 | 2805.9082 | 46.7651
-5980.957 | 12.0249 | 2808.1055 | 46.8018
-5978.7598 | 12.0249 | 2810.3027 | 46.8384
-5976.5625 | 12.0286 | 2812.5 | 46.875
-5974.3652 | 12.0286 | 2814.6973 | 46.9116
-5972.168 | 12.0286 | 2816.8945 | 46.9482
-5969.9707 | 12.0286 | 2819.0918 | 46.9849
-5967.7735 | 12.0286 | 2821.2891 | 47.0215
-5965.5762 | 12.0286 | 2823.4863 | 47.0581
-5963.3789 | 12.0286 | 2825.6836 | 47.0947
-5961.1817 | 12.0323 | 2827.8809 | 47.1313
-5958.9844 | 12.0323 | 2830.0781 | 47.168
-5956.7871 | 12.0323 | 2832.2754 | 47.2046
-5954.5899 | 12.0323 | 2834.4727 | 47.2412
-5952.3926 | 12.0323 | 2836.6699 | 47.2778
-5950.1953 | 12.0323 | 2838.8672 | 47.3145
-5947.9981 | 12.0323 | 2841.0645 | 47.3511
-5945.8008 | 12.0323 | 2843.2617 | 47.3877
-5943.6035 | 12.0323 | 2845.459 | 47.4243
-5941.4063 | 12.0323 | 2847.6563 | 47.4609
-5939.209 | 12.0323 | 2849.8535 | 47.4976
-5937.0117 | 12.036 | 2852.0508 | 47.5342
-5934.8145 | 12.036 | 2854.2481 | 47.5708
-5932.6172 | 12.036 | 2856.4453 | 47.6074
-5930.4199 | 12.036 | 2858.6426 | 47.644
-5928.2227 | 12.036 | 2860.8399 | 47.6807
-5926.0254 | 12.036 | 2863.0371 | 47.7173
-5923.8281 | 12.036 | 2865.2344 | 47.7539
-5921.6309 | 12.036 | 2867.4316 | 47.7905
-5919.4336 | 12.036 | 2869.6289 | 47.8271
-5917.2363 | 12.036 | 2871.8262 | 47.8638
-5915.0391 | 12.036 | 2874.0234 | 47.9004
-5912.8418 | 12.036 | 2876.2207 | 47.937
-5910.6445 | 12.036 | 2878.418 | 47.9736
-5908.4473 | 12.036 | 2880.6152 | 48.0103
-5906.25 | 12.0397 | 2882.8125 | 48.0469
-5904.0527 | 12.0397 | 2885.0098 | 48.0835
-5901.8555 | 12.0397 | 2887.207 | 48.1201
-5899.6582 | 12.0397 | 2889.4043 | 48.1567
-5897.461 | 12.0397 | 2891.6016 | 48.1934
-5895.2637 | 12.0397 | 2893.7988 | 48.23
-5893.0664 | 12.0397 | 2895.9961 | 48.2666
-5890.8692 | 12.0397 | 2898.1934 | 48.3032
-5888.6719 | 12.0397 | 2900.3906 | 48.3398
-5886.4746 | 12.0397 | 2902.5879 | 48.3765
-5884.2774 | 12.0434 | 2904.7852 | 48.4131
-5882.0801 | 12.0434 | 2906.9824 | 48.4497
-5879.8828 | 12.0434 | 2909.1797 | 48.4863
-5877.6856 | 12.0434 | 2911.377 | 48.5229
-5875.4883 | 12.0434 | 2913.5742 | 48.5596
-5873.291 | 12.0434 | 2915.7715 | 48.5962
-5871.0938 | 12.0434 | 2917.9688 | 48.6328
-5868.8965 | 12.0434 | 2920.166 | 48.6694
-5866.6992 | 12.0434 | 2922.3633 | 48.7061
-5864.502 | 12.0434 | 2924.5606 | 48.7427
-5862.3047 | 12.0434 | 2926.7578 | 48.7793
-5860.1074 | 12.0434 | 2928.9551 | 48.8159
-5857.9102 | 12.0434 | 2931.1524 | 48.8525
-5855.7129 | 12.0434 | 2933.3496 | 48.8892
-5853.5156 | 12.0434 | 2935.5469 | 48.9258
-5851.3184 | 12.0434 | 2937.7441 | 48.9624
-5849.1211 | 12.0434 | 2939.9414 | 48.999
-5846.9238 | 12.0434 | 2942.1387 | 49.0356
-5844.7266 | 12.0434 | 2944.3359 | 49.0723
-5842.5293 | 12.0434 | 2946.5332 | 49.1089
-5840.332 | 12.0434 | 2948.7305 | 49.1455
-5838.1348 | 12.0471 | 2950.9277 | 49.1821
-5835.9375 | 12.0434 | 2953.125 | 49.2188
-5833.7402 | 12.0471 | 2955.3223 | 49.2554
-5831.543 | 12.0471 | 2957.5195 | 49.292
-5829.3457 | 12.0471 | 2959.7168 | 49.3286
-5827.1485 | 12.0471 | 2961.9141 | 49.3652
-5824.9512 | 12.0471 | 2964.1113 | 49.4019
-5822.7539 | 12.0471 | 2966.3086 | 49.4385
-5820.5567 | 12.0471 | 2968.5059 | 49.4751
-5818.3594 | 12.0471 | 2970.7031 | 49.5117
-5816.1621 | 12.0471 | 2972.9004 | 49.5483
-5813.9649 | 12.0471 | 2975.0977 | 49.585
-5811.7676 | 12.0471 | 2977.2949 | 49.6216
-5809.5703 | 12.0471 | 2979.4922 | 49.6582
-5807.3731 | 12.0471 | 2981.6895 | 49.6948
-5805.1758 | 12.0471 | 2983.8867 | 49.7314
-5802.9785 | 12.0471 | 2986.084 | 49.7681
-5800.7813 | 12.0471 | 2988.2813 | 49.8047
-5798.584 | 12.0471 | 2990.4785 | 49.8413
-5796.3867 | 12.0471 | 2992.6758 | 49.8779
-5794.1895 | 12.0471 | 2994.8731 | 49.9146
-5791.9922 | 12.0471 | 2997.0703 | 49.9512
-5789.7949 | 12.0471 | 2999.2676 | 49.9878
-5787.5977 | 12.0471 | 3001.4649 | 50.0244
-5785.4004 | 12.0471 | 3003.6621 | 50.061
-5783.2031 | 12.0471 | 3005.8594 | 50.0977
-5781.0059 | 12.0471 | 3008.0566 | 50.1343
-5778.8086 | 12.0471 | 3010.2539 | 50.1709
-5776.6113 | 12.0471 | 3012.4512 | 50.2075
-5774.4141 | 12.0471 | 3014.6484 | 50.2441
-5772.2168 | 12.0471 | 3016.8457 | 50.2808
-5770.0195 | 12.0471 | 3019.043 | 50.3174
-5767.8223 | 12.0471 | 3021.2402 | 50.354
-5765.625 | 12.0471 | 3023.4375 | 50.3906
-5763.4277 | 12.0508 | 3025.6348 | 50.4272
-5761.2305 | 12.0508 | 3027.832 | 50.4639
-5759.0332 | 12.0508 | 3030.0293 | 50.5005
-5756.836 | 12.0508 | 3032.2266 | 50.5371
-5754.6387 | 12.0508 | 3034.4238 | 50.5737
-5752.4414 | 12.0508 | 3036.6211 | 50.6104
-5750.2442 | 12.0508 | 3038.8184 | 50.647
-5748.0469 | 12.0508 | 3041.0156 | 50.6836
-5745.8496 | 12.0508 | 3043.2129 | 50.7202
-5743.6524 | 12.0508 | 3045.4102 | 50.7568
-5741.4551 | 12.0508 | 3047.6074 | 50.7935
-5739.2578 | 12.0508 | 3049.8047 | 50.8301
-5737.0606 | 12.0508 | 3052.002 | 50.8667
-5734.8633 | 12.0508 | 3054.1992 | 50.9033
-5732.666 | 12.0508 | 3056.3965 | 50.9399
-5730.4688 | 12.0508 | 3058.5938 | 50.9766
-5728.2715 | 12.0508 | 3060.791 | 51.0132
-5726.0742 | 12.0508 | 3062.9883 | 51.0498
-5723.877 | 12.0508 | 3065.1856 | 51.0864
-5721.6797 | 12.0508 | 3067.3828 | 51.123
-5719.4824 | 12.0508 | 3069.5801 | 51.1597
-5717.2852 | 12.0508 | 3071.7774 | 51.1963
-5715.0879 | 12.0508 | 3073.9746 | 51.2329
-5712.8906 | 12.0545 | 3076.1719 | 51.2695
-5710.6934 | 12.0545 | 3078.3691 | 51.3062
-5708.4961 | 12.0508 | 3080.5664 | 51.3428
-5706.2988 | 12.0508 | 3082.7637 | 51.3794
-5704.1016 | 12.0508 | 3084.9609 | 51.416
-5701.9043 | 12.0545 | 3087.1582 | 51.4526
-5699.707 | 12.0545 | 3089.3555 | 51.4893
-5697.5098 | 12.0545 | 3091.5527 | 51.5259
-5695.3125 | 12.0545 | 3093.75 | 51.5625
-5693.1152 | 12.0508 | 3095.9473 | 51.5991
-5690.918 | 12.0545 | 3098.1445 | 51.6357
-5688.7207 | 12.0545 | 3100.3418 | 51.6724
-5686.5235 | 12.0545 | 3102.5391 | 51.709
-5684.3262 | 12.0545 | 3104.7363 | 51.7456
-5682.1289 | 12.0545 | 3106.9336 | 51.7822
-5679.9317 | 12.0508 | 3109.1309 | 51.8188
-5677.7344 | 12.0508 | 3111.3281 | 51.8555
-5675.5371 | 12.0545 | 3113.5254 | 51.8921
-5673.3399 | 12.0545 | 3115.7227 | 51.9287
-5671.1426 | 12.0545 | 3117.9199 | 51.9653
-5668.9453 | 12.0545 | 3120.1172 | 52.002
-5666.7481 | 12.0545 | 3122.3145 | 52.0386
-5664.5508 | 12.0545 | 3124.5117 | 52.0752
-5662.3535 | 12.0545 | 3126.709 | 52.1118
-5660.1563 | 12.0545 | 3128.9063 | 52.1484
-5657.959 | 12.0545 | 3131.1035 | 52.1851
-5655.7617 | 12.0545 | 3133.3008 | 52.2217
-5653.5645 | 12.0545 | 3135.4981 | 52.2583
-5651.3672 | 12.0545 | 3137.6953 | 52.2949
-5649.1699 | 12.0545 | 3139.8926 | 52.3315
-5646.9727 | 12.0545 | 3142.0899 | 52.3682
-5644.7754 | 12.0545 | 3144.2871 | 52.4048
-5642.5781 | 12.0545 | 3146.4844 | 52.4414
-5640.3809 | 12.0545 | 3148.6816 | 52.478
-5638.1836 | 12.0545 | 3150.8789 | 52.5146
-5635.9863 | 12.0545 | 3153.0762 | 52.5513
-5633.7891 | 12.0545 | 3155.2734 | 52.5879
-5631.5918 | 12.0545 | 3157.4707 | 52.6245
-5629.3945 | 12.0545 | 3159.668 | 52.6611
-5627.1973 | 12.0545 | 3161.8652 | 52.6978
-5625 | 12.0545 | 3164.0625 | 52.7344
-5622.8027 | 12.0545 | 3166.2598 | 52.771
-5620.6055 | 12.0545 | 3168.457 | 52.8076
-5618.4082 | 12.0545 | 3170.6543 | 52.8442
-5616.211 | 12.0545 | 3172.8516 | 52.8809
-5614.0137 | 12.0545 | 3175.0488 | 52.9175
-5611.8164 | 12.0545 | 3177.2461 | 52.9541
-5609.6192 | 12.0545 | 3179.4434 | 52.9907
-5607.4219 | 12.0545 | 3181.6406 | 53.0273
-5605.2246 | 12.0545 | 3183.8379 | 53.064
-5603.0274 | 12.0545 | 3186.0352 | 53.1006
-5600.8301 | 12.0545 | 3188.2324 | 53.1372
-5598.6328 | 12.0545 | 3190.4297 | 53.1738
-5596.4356 | 12.0545 | 3192.627 | 53.2104
-5594.2383 | 12.0545 | 3194.8242 | 53.2471
-5592.041 | 12.0545 | 3197.0215 | 53.2837
-5589.8438 | 12.0545 | 3199.2188 | 53.3203
-5587.6465 | 12.0545 | 3201.416 | 53.3569
-5585.4492 | 12.0545 | 3203.6133 | 53.3936
-5583.252 | 12.0545 | 3205.8106 | 53.4302
-5581.0547 | 12.0545 | 3208.0078 | 53.4668
-5578.8574 | 12.0545 | 3210.2051 | 53.5034
-5576.6602 | 12.0545 | 3212.4024 | 53.54
-5574.4629 | 12.0582 | 3214.5996 | 53.5767
-5572.2656 | 12.0545 | 3216.7969 | 53.6133
-5570.0684 | 12.0582 | 3218.9941 | 53.6499
-5567.8711 | 12.0545 | 3221.1914 | 53.6865
-5565.6738 | 12.0545 | 3223.3887 | 53.7231
-5563.4766 | 12.0545 | 3225.5859 | 53.7598
-5561.2793 | 12.0545 | 3227.7832 | 53.7964
-5559.082 | 12.0545 | 3229.9805 | 53.833
-5556.8848 | 12.0582 | 3232.1777 | 53.8696
-5554.6875 | 12.0582 | 3234.375 | 53.9063
-5552.4902 | 12.0582 | 3236.5723 | 53.9429
-5550.293 | 12.0582 | 3238.7695 | 53.9795
-5548.0957 | 12.0582 | 3240.9668 | 54.0161
-5545.8985 | 12.0582 | 3243.1641 | 54.0527
-5543.7012 | 12.0582 | 3245.3613 | 54.0894
-5541.5039 | 12.0582 | 3247.5586 | 54.126
-5539.3067 | 12.0582 | 3249.7559 | 54.1626
-5537.1094 | 12.0582 | 3251.9531 | 54.1992
-5534.9121 | 12.0582 | 3254.1504 | 54.2358
-5532.7149 | 12.0582 | 3256.3477 | 54.2725
-5530.5176 | 12.0582 | 3258.5449 | 54.3091
-5528.3203 | 12.0582 | 3260.7422 | 54.3457
-5526.1231 | 12.0582 | 3262.9395 | 54.3823
-5523.9258 | 12.0582 | 3265.1367 | 54.4189
-5521.7285 | 12.0582 | 3267.334 | 54.4556
-5519.5313 | 12.0582 | 3269.5313 | 54.4922
-5517.334 | 12.0582 | 3271.7285 | 54.5288
-5515.1367 | 12.0582 | 3273.9258 | 54.5654
-5512.9395 | 12.0582 | 3276.1231 | 54.6021
-5510.7422 | 12.0582 | 3278.3203 | 54.6387
-5508.5449 | 12.0582 | 3280.5176 | 54.6753
-5506.3477 | 12.0582 | 3282.7149 | 54.7119
-5504.1504 | 12.0582 | 3284.9121 | 54.7485
-5501.9531 | 12.0582 | 3287.1094 | 54.7852
| 12.07 |  | 60